****

**INVITATION FOR BID**

|  |
| --- |
| **YOU ARE HEREBY INVITED TO SUBMIT BIDS FOR THE REQUIREMENTS OF**  **NATIONAL HEALTH LABORATORY SERVICES (NHLS)** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **BID NUMBER:** | | **RFB 037/13-14** | | | |
|  | | | | | |
| **CLOSING DATE:** | | **19 NOVEMBER2013** | | | |
|  | | | | | |
| **CLOSING TIME:** | | **11:00AM** | | | |
| **PUBLIC TENDER OPENING** | | **11:30** | | | |
|  | | | | | |
| **BID VALIDITY PERIOD:** | | **90 days (commencing from the RFB Closing Date)** | | | |
|  | | | | | |
| **IMPORTANT:** | **COMPULSORY INFORMATION BRIEFING:**  **DATE : 30 OCTOBER 2013**  **TIME : 10:30H00 A.M**  **VENUE : C17 LAB, GROOTTE SCHUUR HOSPITAL, ANZIO ROAD (MEET AT RECEPTION)**  **All questions must be sent per e-mail to nondyebo.magamnedisa@nhls.ac.za on or before 18 NOVEMBER 2013.** | | | | |
|  | | | | | |
| **DESCRIPTION:** | | **ALTERATIONS TO AREA C17, GROOTE SCHUUR LABORATORY: NHLS** | | | |
|  | | | | | |
| **BID DOCUMENTS MUST BE MARKED WITH THE FOLLOWING:** | | | **OR** | | **DEPOSITED IN THE BID BOX SITUATED AT:** |
| **Procurement Controller: MS A Shusha** | | | | | |
| **RFB: 037/13-14**  **Bidders Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**  **RFB: Enclosed-Regret (delete N/A)**  **Closing Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_** | | | | **NHLS MAIN RECEPTION**  **1 Modderfontein Road, Sandringham, Johannesburg.** | |

Bidders should ensure that Bids are delivered in time to the correct address. If the bid is late, it shall not be accepted for consideration.

ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS – (**Please note that no changes on the content of this document is allowed**)

THIS BID IS SUBJECT TO THE GENERAL CONDITIONS OF THE BID, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER SPECIAL CONDITIONS OF CONTRACT.

|  |
| --- |
| **THE FOLLOWING PARTICULARS MUST BE FURNISHED (FAILURE TO DO SO SHALL RESULT IN YOUR BID BEING DISQUALIFIED)** |

**BIDDING STRUCTURE**

|  |  |
| --- | --- |
| Indicate the type of Bidding structure by marking with an **‘X’:** | |
| Individual bidder |  |
| Joint venture |  |
| Consortium |  |
| Subcontractors |  |
| Other |  |
|  |  |
| **If individual bidder, indicate the following:** |  |
| Name of bidder |  |
| Registration number |  |
| VAT registration number |  |
| Contact person |  |
| Telephone number |  |
| Fax number |  |
| E-mail address |  |
| Postal address |  |
| Physical address |  |
|  |  |
| **If Joint Venture or Consortium, indicate the following:** |  |
| Name of prime contractor |  |
| Registration number |  |
| VAT registration number |  |
| Contact person |  |
| Telephone number |  |
| Fax number |  |
| E-mail address |  |
| Postal address |  |
| Physical address |  |
|  |  |
| **If Joint Venture or Consortium, indicate the following:** |  |
| Name of partners |  |
| Registration number |  |
| VAT registration number |  |
| Contact person |  |
| Telephone number |  |
| Fax number |  |
| E-mail address |  |
| Postal address |  |
| Physical address |  |
|  |  |
| **If using othersub- contractors, indicate the following**: |  |
| Name of prime contractor |  |
| Registration number |  |
| VAT registration number |  |
| Contact person |  |
| Telephone number |  |
| Fax number |  |
| E-mail address |  |
| Postal address |  |
| Physical address |  |
|  |  |
| **If using subcontractors**: |  |
| Name of subcontractors: |  |
| Registration number |  |
| VAT registration number |  |
| Contact person |  |
| Telephone number |  |
| Fax number |  |
| E-mail address |  |
| Postal address |  |
| Physical address |  |

|  |  |  |  |
| --- | --- | --- | --- |
| Yes |  | No |  |

**HAS AN ORIGINAL AND VALID TAX CLEARANCE CERTIFICATE/S BEEN SUBMITTED?**

|  |  |  |  |
| --- | --- | --- | --- |
| Yes |  | No |  |

**HAS PROOF OF PAYMENT BEEN SUBMITTED?**

|  |  |  |  |
| --- | --- | --- | --- |
| Yes |  | No |  |

**IS THE BIDDING COMPANY A TERTIARY INSTITUTION OR A PUBLIC COMPANY?**

|  |  |  |  |
| --- | --- | --- | --- |
| Yes |  | No |  |

**HAS AN ORIGINAL AND VALID B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE OR CERTIFIED COPIES THEREOF BEEN SUBMITTED?**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| D | D | M | M | Y | Y |
|  |  |  |  |  |  |

**If NO, please indicate the expiry date of the B-BBEE status level verification certificate that was previously submitted to NHLS**

**I CERTIFY THAT THE INFORMATION FURNISHED ON THIS FORM IS TRUE AND CORRECT.**

**I FURTHER ACCEPT THAT, IN ADDITION TO CANCELLATION OF A CONTRACT, ACTION MAY BE TAKEN AGAINST ME SHOULD THIS DECLARATION PROVE TO BE FALSE.**

**SIGNATURE OF BIDDER (duly authorised)**

**……………………………………………………………..**

**DATE**

**…………………………………………………………….**

**CAPACITY UNDER WHICH THIS BID IS SIGNED**

**……………………………………………………..**

| Contents |
| --- |
| [1 Confidential information disclosure notice 6](#_Toc360622394)  [2 Introduction 6](#_Toc360622395)  [3 Definitions 7](#_Toc360622396)  [4 Acronyms and abbreviations 9](#_Toc360622397)  [5 General rules and instructions 10](#_Toc360622398)  [6 Response format 14](#_Toc360622399)  [7 Key personnel 15](#_Toc360622400)  [8 Reasons for disqualification 15](#_Toc360622401)  [9 Bid preparation 15](#_Toc360622402)  [10 Oral presentations and briefing sessions 15](#_Toc360622403)  [11 General Conditions of Bid and Conditions of Contract 16](#_Toc360622404)  [12 Evaluation Criteria and Methodology 23](#_Toc360622405)  [Annex A : Technical Specification 25](#_Toc360622406)  [Annex B : Pricing 42](#_Toc360622407)  [Annex C : Tax Clearance Requirements (SBD2) 44](#_Toc360622408)  [Annex D : Tax Clearance Requirements (SBD4) 47](#_Toc360622409)  [2 Full details of directors / trustees / members / shareholders. 49](#_Toc360622410)  [4. DECLARATION 49](#_Toc360622411)  [Annex E : National Industrial Participation (SBD5) 50](#_Toc360622412)  [Annex F : Declaration Of Bidders Past Supply Chain Practices (SBD8) 53](#_Toc360622413)  [Annex G : Preferential Procurement Claim Form (SBD6.1) 55](#_Toc360622414)  [80/20 or 90/10 57](#_Toc360622415)  [Annex H : CERTIFICATE OF INDEPENDENT BID DETERMINIATION (SBD9) 62](#_Toc360622416)  [Annex I : GOVERNMENT PROCUREMENT: GENERAL CONDITIONS OF CONTRACT – July 2011 66](#_Toc360622417) |
|  |

# Confidential information disclosure notice

1.1 This document may contain confidential information that is the property of the NHLSand the Client.

1.2 No part of the contents may be used, copied, disclosed or conveyed in whole or in part to any party in any manner whatsoever other than for preparing a proposal in response to this Bid, without prior written permission from NHLS and the Client.

1.3 All copyright and Intellectual Property herein vests with NHLS and its Client.

# Introduction

2.1 Based on the Bids submitted and the outcome of the evaluation process according to the set evaluation criteria, NHLSintends to select a preferred bidder with the view of concluding a service level agreement (SLA) with such successful bidder. The Bid shall be evaluated in terms of the Preferential Procurement Policy Framework Act (PPPFA)

2.2 Queries

2.2.1 Should it be necessary for a bidder to obtain clarity on any matter arising from or referred to in this RFB document, please refer queries, in writing, and to the contact personemail address number listed below on or before   
(**18 NOVEMBER 2013)**Under no circumstances may any other employee within NHLS be approached for any information. Any such action might result in a disqualification of a response submitted in competition to the RFB.NHLS reserves the right to place responses to such queries on the website.

|  |  |  |
| --- | --- | --- |
| **QUERIES:**  Mrs.Nondyebo Maganedisa | Telephone | 011 885 5352 |
| E-mail | [nondyebo.maganedisa@nhls.ac.za](mailto:nondyebo.maganedisa@nhls.ac.za) |
| Fax | 011 386 6218 |

# Definitions

* 1. National Health Laboratory Services [hereinafter referred to as NHLS] is a public health laboratory service with laboratories across South Africa. Its activities comprise diagnostic laboratory services, research, teaching and training, and production of sera for anti-snake venom, reagents and media
  2. NHLS was established in 2001 by an Act of Parliament to provide diagnostic pathology laboratory services to the National and Provincial Health Department.
  3. **“Acceptable Bid”** - means any bid, which, in all respects, complies with the specifications and conditions of the RFB as set out in this document.
  4. **“B-BBEE”** – means broad bases black economic empowerment as defined in section 1 of the Broad-Based Black Economic Empowerment Act.
  5. **“B-BBEE status level of contributor”** means the B-BBEE status received by a measured entity based on its overall performance using the relevant scorecard contained in the Codes of Good Practice on Black Economic Empowerment, issued in terms of section 9(1) of the Broad-Based Black Economic Empowerment Act.
  6. **“Bid”** - means a written offer in a prescribed or stipulated form in response to an invitation by an organ of state for the provision of services,works or goods through price quotations, advertised bidding processes or proposals.
  7. **“Bidders”** - means any enterprise, consortium or person, partnership, company, close corporation, firm or any other form of enterprise or person, legal or natural, which has been invited by NHLS to submit a bid in response to this bid invitation.
  8. **“Broad-Based Black Economic Empowerment Act”** – means the Broad-Based Black Economic Empowerment Act, 2003 (Act No. 53 of 2003).
  9. **“Client”** - means the goods or services requestor
  10. **“Comparative Price”** - Means the price after the factors of a non-firm price and all unconditional discounts that can be utilized have been taken into consideration.
  11. **“Consortium”** - means several entities joining forces as an umbrella entity to gain a strategic collaborative advantage by combining their expertise, capital, efforts, skills and knowledge for the purpose of executing this tender.
  12. **“Contractor Agent”** - means any person mandated by a Prime Contractor or consortium/joint venture to do business for and on behalf of, or to represent in a business transaction, the Prime Contractor and thereby acquire rights for the Prime Contractor or consortium/joint venture against NHLS or an organ of state and incur obligations binding the Prime Contractor or consortium/joint venture in favour of NHLS or an organ of state.
  13. **“Disability”** - means, in respect of a person, a permanent impairment of a physical, intellectual, or sensory function, which results in restricted, or lack of, ability to perform an activity in the manner, or within the range, considered normal for a human being.
  14. **“Firm Price”** - means the price that is only subject to adjustments in accordance with the actual increase or decrease resulting from the change, imposition or abolition of customs or excise duty and any other duty, levy or tax which, in terms of a law or regulation is binding on the contractor and demonstrably has influence on the price of any supplies or the rendering cost of any service, for the execution of a contract.
  15. **“Goods”** – means any work, equipment, machinery, tools, materials or anything of whatever nature to be rendered to NHLS or NHLS’s delegate by the Successful Bidder in terms of this bid.
  16. **“Historically Disadvantaged Individual**” (HDI) - means a South African citizen:
      1. Who, due to the apartheid policy that had been in place, had no franchise in national elections prior to the introduction of the Constitution of the Republic of South Africa, 1983, (Act No. 110 of 1983) or the Constitution of the Republic of South Africa, 1993 (Act No. 200 of 1993) (the Interim Constitution); and/or;
      2. who is a female; and/or;
      3. who has a disability;
      4. provided that a person who obtained South African citizenship on or after the coming to effect of the Interim Constitution is deemed not to be an HDI.
  17. **“Joint Venture”** - (Project) means two or more businesses joining together under a contractual agreement to conduct a specific business enterprise with both parties sharing profit and losses. The venture is for one specific project only, rather than for a continuing business relationship as in a strategic alliance. It is about sharing risk with others and providing one or more missing and needed assets and competencies.
  18. **“Management”** - in relation to an enterprise or business, means an activity inclusive of control, and performed on a daily basis, by any person who is a principal executive officer of the company, by whatever name that person may be designated, and whether or not that person is a director.
  19. **“Non-firm Price(s)”** - means all price(s) other than “firm” price(s).
  20. **“Organ of State”** - means a National Department or Provincial Administration as stipulated in Schedules 1 and 2 of the Public Service Act, Act 93 of 1994 (as amended).
  21. **“Person(s)”** - refers to a natural and/or juristic person(s).
  22. **“Prime Contractor”** – means any person (natural or juristic) who forwards an acceptable proposal in response to this RFB with the intention of being the main contractor should the proposal be awarded to him/her.
  23. **“Rand Value”** - means the total estimated value of a contract in South African currency, calculated at the time of invitations and includes all applicable taxes and excise duties.
  24. **“SMME”** – bears the same meaning assigned to this expression in the National Small Business Act, 1996 (Act No. 102 of 1996).
  25. **“Sub-contract”** means the primary contractor’s assigning, leasing, making out work to, or employing, another person to support such primary contractor in the execution of part of a project in terms of the contract.
  26. **“Subcontractor”** - means any person (natural or juristic) who is subcontracted a portion of an existing contract by a Prime Contractor.
  27. **“Successful Bidder”** - means the organization or person with whom the order is placed and who is contracted to execute the work as detailed in the bid.

# Acronyms and abbreviations

* 1. The following acronyms and abbreviations are used in this proposal and must be similarly used in the proposal submitted in response and shall have the meaning ascribed thereto below.

|  |  |
| --- | --- |
| **Abbreviations/Acronyms** | **Description** |
| BBBEE | Broad Based Black Economic Empowerment. |
| CPI | Consumer Price Index. |
| DIR | Directorate |
| EDMS | Electronic Document Management System |
| HDI | Historically Disadvantaged Individuals |
| ISO | International Standard Organization |
| IT | Information Technology |
| ITC | Information Technology Committee |
| MISS | Minimum Information Security Standard |
| OEM | Original Equipment Manufacturer |
| PPPFA | Preferential Procurement Policy Framework Act |
| RFB | Request for Bid |
| RSA | Republic of South Africa |
| NHLS | National Health Laboratory Services |
| SLA | Service Level Agreement |
| SW | Software |

# 

# General rules and instructions

5.1 Confidentiality

5.1.1 The information contained in this document is of a confidential nature, and must only be used for purposes of responding to this RFB. This confidentiality clause extends to Bidder partners and/or implementation agents, whom the Bidder may decide to involve in preparing a response to this RFB.

5.1.2 For purposes of this process, the term “Confidential Information” shall include all technical and business information, including, without limiting the generality of the foregoing, all secret knowledge and information (including any and all financial, commercial, market, technical, functional and scientific information, and information relating to a party’s strategic objectives and planning and its past, present and future research and development), technical, functional and scientific requirements and specifications, data concerning business relationships, demonstrations, processes, machinery, know-how, architectural information, information contained in a party’s software and associated material and documentation, plans, designs and drawings and all material of whatever description, whether subject to or protected by copyright, patent or trademark, registered or un-registered, or otherwise disclosed or communicated before or after the date of this process.

5.1.3 The receiving party shall not, during the period of validity of this process, or at any time thereafter, use or disclose, directly or indirectly, the confidential information of NHLS (even if received before the date of this process) to any person whether in the employment of the receiving party or not, who does not take part in the performance of this process.

5.1.4 The receiving party shall take all such steps as may be reasonably necessary to prevent NHLS’s confidential information coming into the possession of unauthorised third parties. In protecting the receiving party’s confidential information, NHLS shall use the same degree of care, which does not amount to less than a reasonable degree of care, to prevent the unauthorised use or disclosure of the confidential information as the receiving party uses to protect its own confidential information.

5.1.5 Any documentation, software or records relating to confidential information of NHLS, which comes into the possession of the receiving party during the period of validity of this process or at any time thereafter or which has so come into its possession before the period of validity of this process:

5.1.5.1 shall be deemed to form part of the confidential information of NHLS;

5.1.5.2 shall be deemed to be the property of NHLS;

5.1.5.3 shall not be copied, reproduced, published or circulated by the receiving party unless and to the extent that such copying is necessary for the performance of this process and all other processes as contemplated in; and

5.1.5.4 shall be surrendered to NHLS on demand, and in any event on the termination of the investigations and negotiations, and the receiving party shall not retain any extracts.

5.2 News and press releases

5.2.1 Bidders or their agents shall not make any news releases concerning this RFB or the awarding of the same or any resulting agreement(s) without the consent of, and then only in co-ordination with,NHLS and its Client.

5.3 Precedence of documents

5.3.1 This RFB consists of a number of sections (see list). Where there is a contradiction in terms between the clauses, phrases, words, stipulations or terms and herein referred to generally as stipulations in this RFB and the stipulations in any other document attached hereto, or the RFB submitted hereto, the relevant stipulations in this RFB shall take precedence.

5.3.2 Where this RFB is silent on any matter, the relevant stipulations addressing such matter and which appear in the PPPFA shall take precedence. Bidders shall refrain from incorporating any additional stipulations in its proposal submitted in terms hereof other than in the form of a clearly marked recommendation that NHLS may in its sole discretion elect to import or to ignore. Any such inclusion shall not be used for any purpose of interpretation unless it has been so imported or acknowledged by NHLS.

5.3.3 It is acknowledged that all stipulations in the PPPFA are not equally applicable to all matters addressed in this RFB. It however remains the exclusive domain and election of NHLS as to which of these stipulations are applicable and to what extent. Bidders are hereby acknowledging that the decision of NHLS in this regard is final and binding. The onus to enquire and obtain clarity in this regard rests with the Bidder(s). The Bidder(s) shall take care to restrict its enquiries in this regard to the most reasonable interpretations required to ensure the necessary consensus.

**5.4 Preferential Procurement Reform**

5.4.1 NHLSsupports B-BBEEas an essential ingredient of its business. In accordance with government policy, NHLS insists that the private sector demonstrates its commitment and track record toB-BBEE in the areas of ownership (shareholding), skills transfer, employment equity and procurement practices (SMME Development) etc.

5.4.2 NHLSshall apply the principles of the Preferential Procurement Policy Framework Act, (Act No. 5 of 2000) to this proposal.

5.4.3 Bidders shall complete the preference certificate attached to this proposal. In the case of a consortium and sub contractors, the preference certificate must be completed for each legal entity.

**5.5 National Industrial Participation Programme**

5.5.1 The Industrial Participation policy, which was endorsed by Cabinet on 30 April 1997, is applicable to contracts that have an imported content. The NIP is obligatory and therefore must be complied with. Bidders are required to sign and submit the Standard Bidding Document (SBD5).

**5.6 Language**

5.6.1 Bids shall be submitted in English.

**5.7 Gender**

5.7.1 Any word implying any gender shall be interpreted to imply all other genders.

**5.8 Headings**

5.8.1 Headings are incorporated into this proposal and submitted in response thereto, for ease of reference only and shall not form part thereof for any purpose of interpretation or for any other purpose.

**5.9 Security clearances**

5.9.1 Employees and subcontractors of the successful bidder may be required to be in possession of valid security clearances to the level determined by the State Security Agency (SSA)and/or NHLS commensurate with the nature of the project activities they are involved in. The cost of obtaining suitable clearances is for the account of the bidders. The bidders shall supply and maintain a list of personnel involved on the project indicating their clearance status.

5.9.1 Employees and subcontractors of the successful bidder will be required to sign a non-disclosure agreement.

**5.10 Occupational Injuries and Diseases Act 13 of 1993**

5.10.1 The Bidder warrants that all its employees (including the employees of any sub-contractor that may be appointed) are covered in terms of the Compensation for Occupational Injuries and Diseases Act 13 of 1993 and that the cover shall remain in force for the duration of the adjudication of this bid and/ or subsequent agreement. NHLS reserves the right to request the Bidder to submit documentary proof of the Bidder’s registration and “good standing” with the Compensation Fund, or similar proof acceptable to NHLS.

**5.11 Formal contract**

5.11.1 This RFB, all the appended documentation and the proposal in response thereto read together, form the basis for a formal contract to be negotiated and finalised between NHLS and/or its clients and the enterprise(s) to whom NHLS awards the bid in whole or in part.

5.11.2 Any offer and/or acceptance entered verbally between NHLS and any vendor, such offer shall not constitute a contract and thus not binding on the parties.

**5.12 Instructions for submitting a proposal**

5.12.1 **All costing and information must be typed and signed by the bidder, no hand written costing/pricing will be accepted.**

5.12.2 One (1) original, one (1) hard copy and 1(one) electronic copy on compact disk (CD) in Portable Document Format (**PDF)** of the Bid shall be submitted on the date of closure of the Bid.

5.12.2.1 **Pricing: One (1) original, one (1) hard copy and 1 (one) electronic copy on compact disk (CD) in Portable Document Format (PDF) of the Bid shall be submitted on the date of closure of the Bid.Note, pricing must be submitted in a separate sealed envelope and clearly marked, pricing and name of the bidder**.

5.12.2.2 The original copy must be **signed in black ink**by an authorised employee, agent or representative of the bidder and each and every page of the proposal shall contain the initials of same signatories.

5.12.3 Bidders shall submit proposal responses in accordance with the prescribed manner of submissions as specified above.

5.12.4 Bids must be submitted in a prescribed response format herewith reflected as [**Response Format**](#Response), and be sealed in an envelope.

5.12.5 Bids that are too large to fit into the tender box must be handed in at the reception desk during office hours from 08:00- 16:30 or before 10:00 on the closing date.

5.12.6 All Bids in this regard shall only be accepted if they have been placed in the bid box before or on the closing date, **19 NOVEMBER 2013 and stipulated time, 11h00**.

5.12.7 Bids received after the time stipulated shall not be considered.

5.12.8 Bid responses sent by post or courier must reach this office at least   
**36 hours** before the closing date to be deposited into the proposal box. Failure to comply with this requirement shall result in your proposal being treated as a “late proposal” and shall not be entertained. Such proposal shall be returned to the respective bidders.

5.12.9 **No proposal shall be accepted by NHLS if submitted in any manner other than as prescribed above.**

# Response format

6.1 Bidders shall submit response in accordance with the response format specified below. Failure to do so shall result rejectingvendor’s response. No referrals may be made to comment. Failure to comply shall result in the vendor being penalised.

6.2 **Schedule Index:**

6.2.1 **Schedule 1**: Pages1 – 31 of this RFB document

6.2.2 **Schedule 2:**Mandatory Documents

6.2.2.1 **Original and valid Tax Clearance Certificate (no certified copy or scanned copies shall be accepted).**

**If a Consortium, Joint Venture or Subcontractor, an original and valid Tax Clearance Certificate must be submitted for each member.**

**NOTE If you have submitted an original tax clearance certificate before at NHLS for any bid, it is not necessary for you to submit another tax clearance certificate again. It is the duty of the bidder to ensure that each and every time a bid response is submitted, the previously submitted tax clearance certificate is still valid at the closing date of the subsequent submission of a response for a particular RFB or RFQ.**

6.2.2.2 Bid Receipt of R500.00 (if Consortium, Joint Venture or Subcontractor,onlyone (1) payment per tender response must be submitted).

6.2.2.3 National Industrial Participation Programme Certificate from the DTI (read paragraph 5.5 in conjunction with AnnexE – SBD 5)(If applicable).

6.2.3 **Schedule** **3** : Executive Summary of proposal

6.2.4 **Schedule**  **4** : Technical/Functionality

6.2.5 **Schedule**  **5** : Price. (Please submit the price **in a sealed envelope.)**

6.2.6 **Schedule 6**: Participation goals (Preferential points questionnaire).

6.2.7 **Schedule 7:**Declaration of interest

6.2.8 **Schedule 8** : Bidder Profile:

6.2.8.1 Credentials of the company/consortium members etc.

6.2.8.2 Structure of the company/ consortium members etc.

6.2.8.3 Partnership agreements/contracts

6.3 **Bidder background information materials:**

6.3.1 Bidder Operating Organisation – Provide an overview of the operating structure and geographical locations of the firm at the national, regional, and local levels.

6.3.2 Standards – Include information regarding your firm’s utilization of widely known Industry Standards and guidelines, as they apply to your firm, your firm’s proposal and proposed hardware assets.

6.3.3 Company Contact(s) – Provide the name, title, street address, city, state, telephone and fax numbers and e-mail of the primary company’s contact person, and for any sub-Contractors.

6.3.4 Corporate Financial Solvency - Providesolvency statement signed by a qualified independent auditor that the financial position of the company is sound and that the company will be able to mobilise financial resources to deliver the project.

6.3.4.1 Indicate the percentage of total annual revenue that the proposed service will contribute against the revenue generated for the most recent and the preceding two fiscal years.

# Key personnel

7.1 Identify key personnel, by employer (include subcontractor(s), and provide contact information.

# Reasons for disqualification

8.1 NHLS reserves the right to disqualify any bidder which does any one or more of the following, and such disqualification may take place without prior notice to the offending bidder, however the bidder shall be notified in writing of such disqualification:

8.2 bidders who do not submit a valid and original Tax Clearance Certificate on the closing date and time of the bid;

8.3 bidders who submitted incomplete information and documentation essential for the adjudication of the requirements of this RFB;

8.4 bidders who submitted information that is fraudulent, factually untrue or inaccurate, for example memberships that do not exist, B-BBEE credentials, experience, etc;

8.5 bidders who received information not available to other vendors through fraudulent means; and/or

8.6 bidders who do not comply with**mandatory requirements** as stipulated in this RFB.

8.7 bidders who fail to supply a proof of payment will be disqualified.

# Bid preparation

9.1 All additions to the proposal documents i.e. annexes, supporting documentation pamphlets, photographs, technical specifications and other support documentation covering the goods offered etc. shall be neatly bound as part of the schedule concerned.

9.2 All responses regarding questions posed in the annex attached herewith shall be answered in accordance with the prescribed **RFB Response Format**.

9.3 Telephonic, faxed, e-mailed or oral tenders shall not be accepted.

# Oral presentations and briefing sessions

10.1 Bidders who submit Bids in response to this RFB may be required to give an oral presentation, which may include, but is not limited to, an equipment/service demonstration of their proposal to NHLS. This provides an opportunity for the vendor to clarify or elaborate on the proposal. This is a fact finding and explanation session only and does not include negotiation. NHLSshall schedule the time and location of these presentations. Oral presentations are an option of NHLS and may or may not be conducted.

# General Conditions of Bid and Conditions of Contract

**11.1 Bidders shall provide full and accurate answers to all (including mandatory) questions posed in this document, and, are required to explicitly indicate either "Comply/Accept (with a √)" or "Do not comply/Do not accept (with an X)" regarding compliance with the requirements. Where necessary, the bidder shall substantiate their response to a specific question.**

**NOTE: It is mandatory for bidders to complete or answer this part fully (11.1.1 to 11.28); otherwise their bid shall be treated as incomplete and shall be disqualified. Refer to paragraph 8 of this document (reasons for disqualification).**

11.1.1

|  |  |  |
| --- | --- | --- |
| This bid is subject to the General Conditions of Contract stipulated in this document. | **Accept** | **Do not Accept** |
|  |  |

11.1.2

|  |  |  |
| --- | --- | --- |
| The laws of the Republic of South Africa shall govern this RFB and the bidders hereby accept that the courts of the Republic of South Africa shall have the jurisdiction. | **Accept** | **Do not Accept** |
|  |  |

11.1.3

|  |  |  |
| --- | --- | --- |
| NHLS shall not be liable for any costs incurred by the bidder in the preparation of response to this RFB. The preparation of response shall be made without obligation to acquire any of the items included in any bidder’s proposal or to select any proposal, or to discuss the reasons why such vendor’s or any other proposal was accepted or rejected. | **Accept** | **Do not Accept** |
|  |  |

11.1.4

|  |  |  |
| --- | --- | --- |
| NHLS Procurement Services may request written clarification regarding any aspect of this proposal. The bidders must supply the requested information in writing within the specified time frames after the request has been made, otherwise the proposal shall be disqualified. | **Accept** | **Do not Accept** |
|  |  |

11.1.5

|  |  |  |
| --- | --- | --- |
| In the case of Consortium, Joint Venture or subcontractors, bidders are required to provide copies of signed agreements stipulating the work split and Rand value. | **Accept** | **Do not Accept** |
|  |  |

11.1.6

|  |  |  |
| --- | --- | --- |
| In the case of Consortium, Joint Venture or subcontractors, all bidders are required to provide mandatory documents as stipulated in schedule 1 of the Response format. | **Accept** | **Do not Accept** |
|  |  |

11.1.7

|  |  |  |
| --- | --- | --- |
| NHLS reserves the right to; cancel or reject any proposal and not to award the proposal to the lowest bidder or award parts of the proposal to different bidders, or not to award the proposal at all. | **Accept** | **Do not Accept** |
|  |  |

11.1.8

|  |  |  |
| --- | --- | --- |
| Where applicable, bidders who are distributors, resellers and installers of network equipment are required to submit back-to-back agreements and service level agreements with their principals. | **Accept** | **Do not Accept** |
|  |  |

11.1.9

|  |  |  |
| --- | --- | --- |
| By submitting a proposal in response to this RFB, the bidders accept the evaluation criteria as it stands. | **Accept** | **Do not Accept** |
|  |  |

11.1.10

|  |  |  |
| --- | --- | --- |
| Where applicable, NHLS reserves the right to conduct benchmarks on product/services offered during and after the evaluation. | **Accept** | **Do not Accept** |
|  |  |

11.1.11

|  |  |  |
| --- | --- | --- |
| NHLS reserves the right to conduct a pre‑award survey during the source selection process to evaluate contractors' capabilities to meet the requirements specified in the RFB and supporting documents. | **Accept** | **Do not Accept** |
|  |  |

11.1.12

|  |  |  |
| --- | --- | --- |
| Where the bid calls for commercially available solutions, bidders who offer to provide future based solutions will be disqualified. | **Accept** | **Do not Accept** |
|  |  |

11.1.13

|  |  |  |
| --- | --- | --- |
| The bidder should not qualify the proposal with own conditions.  **Caution:** If the bidder does not specifically withdraw its own conditions of proposal when called upon to do so, the proposal response shall be declared invalid. | **Accept** | **Do not Accept** |
|  |  |

11.1.14

|  |  |  |
| --- | --- | --- |
| Should the bidder withdraw the proposal before the proposal validity period expires, NHLS reserves the right to recover any additional expense incurred by NHLS having to accept any less favourable proposal or the additional expenditure incurred by NHLS in the preparation of a new RFB and by the subsequent acceptance of any less favourable proposal. | **Accept** | **Do not Accept** |
|  |  |

11.1.15

|  |  |  |
| --- | --- | --- |
| Delivery of and acceptance of correspondence between NHLS and the bidder sent by prepaid registered post (by air mail if appropriate) in a correctly addressed envelope to either party’s postal address or address for service of legal documents shall be deemed to have been received and accepted after (2) two days from the date of postage to the South African Post Office Ltd. | **Accept** | **Do not Accept** |
|  |  |

11.1.16

|  |  |  |
| --- | --- | --- |
| Should the parties at any time before and/or after the award of the proposal and prior to, and-or after conclusion of the contract fail to agree on any significant product price or service price adjustments, change in technical specification, change in services, etc. NHLS shall be entitled within 14 (fourteen) days of such failure to agree, to recall the letter of award and cancel the proposal by giving the bidder not less than 90 (ninety) days written notice of such cancellation, in which event all fees on which the parties failed to agree increases or decreases shall, for the duration of such notice period, remain fixed on those fee/price applicable prior to the negotiations.  Such cancellation shall mean that NHLS reserves the right to award the same proposal to next best bidders as it deems fit. | **Accept** | **Do not Accept** |
|  |  |

11.1.17

|  |  |  |
| --- | --- | --- |
| In the case of a consortium or JV, each of the authorised enterprise’s members and/or partners of the different enterprises must co-sign this document. | **Accept** | **Do not Accept** |
|  |  |

11.1.18

|  |  |  |
| --- | --- | --- |
| Any amendment or change of any nature made to this RFB shall only be of force and effect if it is in writing, signed by NHLS signatory and added to this RFB as an addendum. | **Accept** | **Do not Accept** |
|  |  |

11.1.19

|  |  |  |
| --- | --- | --- |
| Failure or neglect by either party to (at any time) enforce any of the provisions of this proposal shall not, in any manner, be construed to be a waiver of any of that party’s right in that regard and in terms of this proposal. Such failure or neglect shall not, in any manner, affect the continued, unaltered validity of this proposal, or prejudice the right of that party to institute subsequent action. | **Accept** | **Do not Accept** |
|  |  |

11.1.20

|  |  |  |
| --- | --- | --- |
| Bidders who make use of subcontractors.  **The proposal shall however be awarded to the Vendor as a primary contractor who shall be responsible for the management of the awarded proposal. No separate contract shall be entered into between NHLS and/or its client and any such subcontractors. Copies of the signed agreements between the relevant parties must be attached to the proposal responses**. | **Accept** | **Do not Accept** |
|  |  |

11.1.21

|  |  |  |
| --- | --- | --- |
| All services supplied in accordance with this proposal must be certified to all legal requirements as per the South African law. | **Accept** | **Do not Accept** |
|  |  |

11.1.22

|  |  |  |
| --- | --- | --- |
| No interest shall be payable on accounts due to the successful vendor in an event of a dispute arising on any stipulation in the contract. | **Accept** | **Do not Accept** |
|  |  |

11.1.23

|  |  |  |
| --- | --- | --- |
| Evaluation of Bids shall be performed by a CFET established by NHLS.  Bids shall be evaluated on the basis of conformance to the required specifications as outlined in the RFB. Points shall be allocated to each bidder, on the basis that the maximum number of points that may be scored for price is 80/90, and the maximum number of preference points that may be claimed for B-BBEE (according to the PPPFA) is 20/10. | **Accept** | **Do not Accept** |
|  |  |

11.1.24

|  |  |  |
| --- | --- | --- |
| Prior to the award of any tender or contract the NHLS will check the Prohibition status of recommended suppliers/ service providers on the Treasury website ([restricted@treasury.gov.za](mailto:restricted@treasury.gov.za) ) as well as the Treasury Register for Tender Defaulters ([www.treasury.gov.za](http://www.treasury.gov.za) ) | **Accept** | **Do not Accept** |
|  |  |

11.25

|  |  |  |
| --- | --- | --- |
| The NHLS will act against the bidder or person awarded the contract upon detecting that the B-BBEE status level of contribution has been claimed or obtained on a fraudulent basis or any of the contract conditions have not been fulfilled. | **Accept** | **Do not Accept** |
|  |  |

11.26

|  |  |  |
| --- | --- | --- |
| The NHLS may, in addition to any other remedy that it may have against the bidder or person:   * Disqualify the bidder or person from the bidding process; * Recover all costs, losses or damages it has incurred or suffered as a result of that person’s conduct * Cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation; * Restrict the bidder or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, from obtaining business from any organ of state for a period not exceeding 10 years, after applying the audialterampartem (hear the other side) rule; * Forward the matter for Blacklisting by Treasury; and * Forward the matter for criminal prosecution | **Accept** | **Do not Accept** |
|  |  |

11.1.27

|  |  |  |
| --- | --- | --- |
| If the successful bidder disregards contractual specifications, this action may result in the termination of the contract. | **Accept** | **Do not Accept** |
|  |  |

11.1.28

|  |  |  |
| --- | --- | --- |
| The bidders’ response to this Tender, or parts of the response, shall be included as a whole or by reference in the final contract. | **Accept** | **Do not Accept** |
|  |  |

11.1.29

|  |  |  |
| --- | --- | --- |
| NHLS has discretion to extend the validity period should the evaluation of this bid not be completed within the stipulated validity period. | **Accept** | **Do not Accept** |
|  |  |

11.1.30

|  |  |  |
| --- | --- | --- |
| Upon receipt of the request to extend the validity period of the bid, the bidder must respond within the required time frames and in writing on whether or not he agrees to hold his original bid response valid under the same terms and conditions for a further period. | **Accept** | **Do not Accept** |
|  |  |

11.1.31

|  |  |  |
| --- | --- | --- |
| Should the bidder change any wording or phrase in this document, the bid shall be evaluated as though no change has been effected and the original wording or phrasing shall be used. | **Accept** | **Do not Accept** |
|  |  |

11.1.32

|  |  |  |
| --- | --- | --- |
| Should the bidder change any wording or phrase in this document, the bid shall be evaluated as though no change has been effected and the original wording or phrasing shall be used. | **Accept** | **Do not Accept** |
|  |  |

# Evaluation Criteria and Methodology

12.1 Evaluation of tenders and selection of contractors/service providers

The NHLS is a Schedule 3A Government Institution subjected to the Public Finance Management Act (PFMA), the Public Preferential Framework Act (PPPFA) and Treasury Regulations/ Instructions. Bidders must assist the NHLS to eliminate corruption and fraud by completing and submitting form SBD4.

12.1.1. Any tender closing is followed by a Public Opening where the names and pricing of all bids received are read out to the bidders attending. NHLS tender opening officials sign the pages where pricing is indicated to prevent any alterations.

12.1.2 Administrative evaluationis then done by NHLS Procurement Services and bidders whom failed to submit the Mandatory documents in paragraph ....shall be disqualified.

12.1.3 Next step of evaluation is the “technical” or so called “functional” evaluation which is purely based on NHLS specifications (Annexure 2) and Scope of Work . NHLS end-user department( *who requested the bid* ), Procurement Services, Finance and subject specialists are part of the Cross Functional Evaluation Team( CFET ) meeting which is chaired by Quality Assurance( QA ). *All the members of the CFET must complete Declaration of Interest forms and must recuse themselves in case of any conflict of interest.*

12.1.4 The final stage of evaluation is done after the CFET has reached their verdict and is done by NHLS Procurement Services and separately from the CFET meeting. Price and B-BBEE score (commercial evaluation) are being added in order to get the final order of merit for the bidders being evaluated.

12.1.5 bidders that score the minimum threshold are recommended and submitted to the NHLS Tender Evaluation Committee( TAC ) for adjudication and the bid MUST be awarded to the bidder who scored the highest points( Merit 1 ) during the CFET and Commercial evaluation( price and B-BBEE ). *All the members of the CFET must complete Declaration of Interest forms and must recuse themselves in case of any conflict of interest.* ***Should the TAC decide on a bidder other than Merit 1, this decision must be motivated as a Deviation from NHLS Policy & procedure and Treasury must be advised accordingly.***

12.1.6 The CEO of the NHLS must finally approve the recommendation by the TAC, in his capacity as the Accounting Officer.

12.1.7 Details of the successful bidder to be advertised in the Government Tender Bulletin.

12.1.8. Suppliers must accept the Terms & Conditions of our contract(s) which will result from the RFB document”. RFB conditions and pricing shall be fixed and firm from RFB closing date to the end of contract.

**12.2. Administrative Compliance**

The following will be used to evaluate bids administratively:

* Fully completed and signed SBD4
* Submission of original and valid tax clearance
* Audited financial statement not older than two years
* SANAS accredited B-BBEE Certificate
* The service providers to have agree with NHLS general contract terms conditions

12.2.1 The evaluation of the Bids shall be based on the 90/10 PPPFA principle and the points for evaluation criteria are as follows:

|  |  |
| --- | --- |
| Price points | 80/90 |
| B-BBEE status level contribution | 20/10 |
| **Total** | **100 points** |

12.2.2 All Bids received shall be evaluated by a panel using the preference points system as stipulated in the Preferential Procurement Regulations.

12.2.3 The bids will be evaluated first based on mandatory requirements a

**12.4** **Step 1:** Bidders who do not qualify with all the technical mandatory requirements **will not** be considered for further evaluation price and B-BBEE.

1. Technical Specification
2. **SPECIAL INSTRUCTIONS TO VENDORS**
   1. Should a vendor have reasons to believe that the Technical Specification is not open and/or is written for a particular brand or product; the vendor shall notify Procurement Services within ten (10) days after publication of the bid.
   2. Bidders shall provide full and accurate answers to the mandatory questions posed in this document, and, where required explicitly state either “Comply/Not Comply” regarding compliance with the requirements. Bidders **must** substantiate their response to all questions, including full details on how their proposal/solution will address specific functional requirements. All documents as indicated must be supplied as part of the submission.
   3. Vendors are encouraged to promote the growth and development of SMME's, and will be assessed on their efforts in this regard during the evaluation of this Tender.
3. **SCOPE OF WORK**
   1. **. The Scope of this RFB is:**

Renovations to microbiology, Groote schuurlaboratory:NHLS

**2.1.2 Repair work**

* Repairs to cracks 0.2mm to 2mm
* Rake out with a scraped blade
* Remove dust and debris
* Fill with pure acrylic, paintable, flexible crack filler

**2.1.3 Cracks over 2mm**

* Open out with a carborundum disk into a V shape minimum 3mm wide
* Remove dust and debris
* Wet the crack and fill with damp 1:4 cement/sand mortar properly compacted into the cracks

**2.1.4 Repairs to Mortar Joints**

* Scrape out unsound mortar
* Point solidly with 1:3 cement/sand mortar properly compacted into the joints

**2.1.5 Repairs to Painted Wall Surface Coating**

* Remove loose paint with a sharp paint a scraper or hand-held pneumatic engraving tools fitted with flat chisel heads
* Feather edges of tightly bonded paint with a rough to medium grit paper
* Built up paint covering flush with general surface area

**2.1.6 Preparation**

* Generally
* Materials used in preparation to be types recommended by their manufacturers and the coating manufacturer for the situation and surfaces being prepared
* Apply in strict accordance with the manufacturers specification
* Apply oil based stoppers/fillers after priming. Apply water based stoppers/fillers before priming unless recommended otherwise by manufacturer. Patch prime water based stoppers/fillers when applied after priming
* Ensure that doors and opening windows, etc, are “eased” as necessary before coating. Prime any resulting bare areas
* Plastered surfaces and fibre cement boards to be washed down and allowed to dry completely
* Unfinished concrete surfaces clean with 1:4 solution of spirit of salts: water
* All floors where painting is to be carried out to be swept clean, walls dusted down and unpainted surfaces protected

**2.1.7 Efflorescence**

* Remove surface salts and other loose material with a stiff brush or coarse dry cloth
* Leave for 48 hours and repeat process if further efflorescence occurs
* Sand glossy surfaces to provide a key for finish

**2.1.8 Ironmongery**

* Remove from surfaces to be coated and re-fit on completion. Do not remove hinges unless instructed to do so

**2.1.9 Previously Uncoated Timber**

* Ensure that large and loose knots are removed and made good with sound timber of the same species. Sand down flush
* Ensure that surfaces are clean and remove all oil, grease and excessive natural oils with suitable solvents
* Sand to a smooth, even finish with arrises rounded or eased
* Remove resinous bleeding by heat, apply two coats of knotting to resinous areas and all knots and allow to dry
* Ensure that head of fasteners are countersunk sufficiently to hold stopping/filling. Fill nail and screw holes, joints, cracks, holes, depressions, open or coarse grain with matching coloured stopper/filler worked well in and finished off flush with surface. Sand smooth and remove dust
* Sand down to remove all plaster stains pencil marks and other blemishes from timber that is to be oiled or stained

**2.1.10 Previously Coated Timber**

* Strip any existing cracked or flaking varnish back to fresh wood
* Sand down any discoloured areas to fresh wood
* Ensure that surfaces are clean and remove all oil, grease and excessive natural oils with suitable solvents
* Sound varnish to be sanded with 360 grit paper

**2.1.11 Uncoated Masonry/Render**

* Remove dirt, surface deposits, loose and faking material with a stiff brush
* Fill holes and cracks flush with surface, rub down

**2.1.12 Unpainted Plaster**

* Remove dirt and surface deposits with a stiff brush
* Rub down to remove nibs, trowel marks and plaster splashes
* Lightly rub over trowelled glossy plaster with worn abrasive paper
* Fill depressions, holes and cracks and lightly rub down flush with surface

**2.1.13 Steel Generally**

* Remove all loose and faking paint
* Feather edges of tightly bonding paint

**2.1.14 Rusted Areas**

* Clean disk sand and wire brush to remove rust
* Clean bare steel patches with a solvent wash
* Rust convertor only to be used on small areas where hand cleaning is ineffective
* Apply with a stiff brush ensuring penetration into any pitting
* Inspect after two hours and recoat areas showing unconverted red rust
* Prime surfaces as soon as possible after cleaning, and in any case within four hours

**2.1.15 Coating**

* Painting Generally
* Operatives must be appropriately skilled and experienced in the use of specified materials and methods of application
* Do not use materials that show any bittiness when applied. Do not thin or intermix unless specified or recommended otherwise. If materials are found to have been thinned without authorization, the Project Manager may require an additional application of additional coats
* Any priming as soon as possible on the same day as preparation is completed, ensure that coats are of adequate thickness and suit surface porosity
* Adjacent coats of the same material must be of a different tint to ensure that each coat provides complete coverage
* Apply coatings to clean, dust free, suitable dry surfaces in dry atmospheric conditions and after any previous coats have hardened. Lightly abrade between coats as necessary
* Apply coatings evenly to give a smooth finish of uniform colour, free from brush marks, nibs, sags, runs and other defects. Cut in neatly and cleanly. Do not splash or mark adjacent surfaces
* Keep all surfaces clean and free from dust during coating and drying. Adequately protect completed work from damage

**2.1.16 Painted Joinery/woodwork**

* Before priming preservative treated timber, any cut surfaces to be retreated and all end grain to be liberally coated allowing it to soak in before recoating it
* Pre-primed woodwork to be lightly rubbed down and patch prime to match existing
* Prime: One coat primer, two coats to end grain which will be painted
* Finish: Two coats Alkyd gloss, sanded down between coats

**2.1.17 Staining**

* Check with stain manufacturer if primer is required for the species of timber and type of previously applied treatment.
* Apply stain in flowing coats. Redistribute excess material by brushing before stain has set. Allow not less than 12 hours between coats

**2.1.18 Varnishing**

* Thin first coat with white spirits according to manufacturers recommendations
* Brush well in avoiding aeration and lay off
* Apply further coats of varnish, rubbing down lightly between coats along the grain

**2.1.19Bead Glazing to Coated Timber**

* Before Glazing: Apply first two coats to rebates and beads

**2.1.20 Concealed Joinery Surfaces**

* Inaccessible parts of joinery constructions are to be primed and/or coated before assembly
* Where one or more additional coats are specified to be applied, they must be applied to all surfaces, including those that will be concealed when incorporated into the building

**2.1.21 Wooden Doors**

* Varnish or paint bottom edges before hanging

**2.1.22 Completion**

* Ensure that opening lights/windows/hinges and other moving parts move freely. Remove all masking tape and temporary coverings afterwards

**2.1.23 Protection**

* Adequately protect all surfaces that are not to be coated
* Protect all surfaces from dust and damp
* Where doors are delivered to site in a finished condition, provide all necessary protection to the doors when applying coatings to the frames

**2.2 Air-conditioners**

* Contractor to provide adequate power supply to air con unit
* month warrantee to be included
* Contractor is liable for any damages to structure
* All work must be SABS approved
* Each air con to be separately wired via isolator from the DB board and connected with a circuit breaker (see size and Phase requirements as stipulated in Bill)
* D/P Isolator to be installed and connected adjacent to air-con unit internally (see size and Phase requirements as stipulated in Bill)
* Electrical Certificate Of Compliance to be issued on completion
* Allow for drilling through wall and plaster/ patch and paint afterwards
* All piping/cabling to be in PVC trunking/ ducting. Allow for correct lenghts
* Units always to be heating and cooling (unless otherwise stipulated in Bill)
* All piping, brackets, gas up to commissioning to be included in pricing
* Supply units of the following Manufaturers or similar: Samsung, LG, Carrier, Daiken

**2.3 Plumbing**

* Only registered Plumbers to be employed for any plumbing & drainage work
* Allow for ± 2m2 tiling above each basin and sink
* Allow for A Grade Glazed white tiles, 152 x 152mm, 5 – 6.5mm thick
* Sinks size: 1350mm x 535mm unless otherwise specified in bill of quantities
* Sink mixer for tea room sink to be 15mm chrome plated brass mixer type tap
* All basins to be white glazed, each fitted with an approved 32mm chrome plated brass waste fitting with screwed outlet, and a 15mm chrome plated brass elbow action tap connected to water supply
* All sinks to be stainless steel with exposed surfaces having a smooth finish, each fitted with an approved 32mm chrome plated brass waste fitting with screwed outlet, and a 15mm chrome plated brass Hospital goose neck tap
* Stainless steel grade 316 or Type 304 to be used for stainless steel sinks
* All material to be SABS approved
* Make sure all existing water pipes and waste is in good working condition
* All existing basins and sinks to be washed and cleaned
* On each water supply line, a ball valve need to be installed as close as possible to outlet, this includes basins, sinks, toilets
* Each tap to be visibly marked with “H” or a “Red” mark for Hot water and “C” or a “Blue” mark for Cold water
* Geysers: Install makes such as Franky, Kwikhot or similar. Install on a drip tray with drain pipe to outside, pressure valve, safety valve, shut off valve, overflow pipe. Isolator to be installed at least 1m from Geyser, hot and cold water supply lines to be bonded and earthed. Isolator to be wired to DB with dedicated double pole circuit breaker.
* Toilets: these shall be deemed to include the following: WC Pan, flush valve or 11 litrecistern with flushing apparatus, float valve and flush pipe and all finishings to pipes and cistern. To be the wash down type, approximately 400 high manufactured of white glazed fireclay or vitreous china, each provided with the compatible “P” or “S” –Traps, jointed to Pan. Pans and traps to be set on and encased in Class B concrete not less than 100mm thick at any point or position
* Wall mounted bowl urinals: to be of white glazed fireclay or vitreous china, approximately 700 x 380mm in size with back flush entry, secured to wall with at least 2 concealed hanger brackets. Each urinal to be fitted with 38mm chrome plated domical grating, urinal flushing valve complete with push button assembly, spreader and all other necessary chrome plated brass fittings as well as a chrome plated brass bottle trap
* Hydroboil installations: Install always above sink (see bill of quantities for size)
* Emergency shower: complete body shower with eye station. Flow rate to be 60 litre per minute.At floor level, 700mm below shower head, the radius of water reaching the floor should be 200mm. At the eye station flow rate should be 6 litre per minute at a flow pressure safe enough not to injure the User. This unit to be 1 metre from floor level. Make use of emergency showers as supplied by Broen, Bull Maurice Trading or similar

**2.4 Electrical**

* Only registered Electricians to be employed for any electrical work
* Wires to be used for sockets outlets; 2.5mm2 PVC
* Colour for 2- compartment steel/PVC power skirting unless differently specified in bill of quantities (colour to be confirmed)
* Normal plugs to be white and dedicated plugs to be red
* Electrician to consult with Lab Manager regarding lab equipment when circuit are installed to prevent overloading, new plug points to be wired from distribution board and marked properly
* Legend card in DB to be up to date
* Electrical Certificate Of Completion to be issued on completion
* All material to be SABS approved
* Circuit breakers to be SABS approved and type and size to be confirmed with Project Manager before installation
* Hydroboils: wire from DB Board with 30Amp double pole isolator next to Unit (at least 1m away) and 25Amp circuit breaker in DB board

**2.5 Workbenches & Tops**

* Worktops to be 32mm thick, Formica brand postform - white (unless otherwise stipulated in Bill)
* 16mm white melamine to be used for shelves and cupboards with white edging on visible sides
* Where necessary 75mm holes must be drilled in worktops to accommodate computer cables and power supply to machinery and be made good with a plastic grommet
* Pre-manufacture 40 x 32mm steel square tubing frames as supplied by SA Lab or similar, sections of 800mm wide and 500mm deep, for postform tops, with adjustable pedestals to adjust the height of the benches. Benches could be 730mm or 900mm high (see bill of quantities) Sections to be bolted together, not welded. All steelwork to be epoxy powder coated in black. In certain instances where tops are 900mm wide, the depth of the steel frame should be 800mm deep. Where tops join it should be sealed with a T-Strip with silicon underneath

**2. 6 Cupboards**

* Steel cupboards to be manufactured by SA Lab or similar and assembled. Units to be specified in bill will be either a 4 drawer (450mm wide), 2 doors with 1 shelve (750mm wide) Exterior and Interior to be White powder coated. Doors to be affixed with 2 brass piano hinges each and drawers to be mounted on runners. Each drawer and door to be equipped with a PVC recessed handle. All floor cupboards to be on 4 castors each, front wheels to be lockable. See bill of quantities for sizes and combinations.
* In kitchens timber cupboards to be manufactured and installed with 16mm melamine covered pressed wood. Exterior to be Oak finish and Interior to be white finish. All visible exterior edges to be finished in Oak and internally white. Each drawer face and door to have wrap around finish. Doors to be affixed on 2 hinges each and drawers on runners. Each drawer and door to be equipped with an aluminium handle

**2.7 Doors**

* All doors to be hung in such a way that the clearance gap between door and frame after hanging shall not exceed 2mm at sides and head. The floor clearance to be preferably 2mm but may be increased to accommodate an uneven floor finish. Exterior doors shall be hung on brass hinges. Aluminium doors to be hung on aluminium hinges, not less than 3 hinges on a 2 100mm high door. On higher doors at least 4 hinges should be fitted. All exterior doors to be fitted with an aluminium and rubber weather strip at the bottom. Each door to be equipped with 2 door handles. Type to be confirmed by Project Manager. Behind every door a door stop should be installed on top of the floor to prevent the door handle making contact with the wall – clearance between wall and door handle to be approximately 20mm.

**2.8 Paint**

* Two final coats of White paint to all surfaces, ceiling and walls. Door colours to be confirmed by Project Manager, if not varnished
* Existing pipes against wall must be colour coded painted, for example gas, water, oxygen
* Rhino board surface to receive Rhinolite to a smooth finish on dry walls
* Before painting can commence, every defect/uneven surface must be repaired
* Patch prime new and exposed plaster areas with 1 coat and allow drying. Coat 1 may be thinned up to 10% with mineral turpentine to aid absorption. Allow 4 hours drying time at 23º c . Three (3) coats of paint to dry wall. Paint texture and type to match existing, Colour for walls and steel frames to be white unless otherwise confirmed by Project Manager
* One coat metal primer to steel work and two coats final oil based enamel
* Paint to be Plascon double velvet, Dulux, Prominent or similar

**2.9 Vinyl Floors**

* Only use Heavy duty safety Vinyl flooring which should be slip resistant and factory sealed with Polyurethane as supplied by Marley or Polyfloor. Roll to be at least 2 metres wide and vinyl 2 - 2.5 mm thick. Colour to be confirmed by Project Manager. Sample to be signed off by Project Manager before installation commences
* Ensure that the sub-floor is completely smooth, level, hard, dry and clean before laying commences
* Joints to be butted, grooved and heat welded ensuring that the welding rod bonds to more than 70% of the sheet thickness. It is essential that on completion the installation be rolled, in both directions with an articulated 68kg three sectional metal floor roller.
* Skirting; install coving where wall meets floor and continue with vinyl floor 100mm high. Finish off with Vinyl/PVC Ribbon
* Installation to be done by an approved Installer in accordance with the Manufaturers specifications

**2.19 Tile Floors**

* Ensure that the sub-floor is completely smooth, level, hard, dry and clean before laying commences
* Only use A Grade Acid resisting Ceramic tiles, 10mm thick, 300 x 300mm in size
* Use SABS approved tile cement and apply as per Manufacturers instructions (colour to be confirmed by Project Manager)
* Use SABS approved water proof Acid resistant grout. Gaps 5 – 10mm (colour grey)
* Skirtings to be 100mm high where required, coved at junction with floor and rounded on top edge

**2.20 Carpet Floors**

* Ensure that the sub-floor is completely smooth, level, hard, dry and clean before laying commences. Installation to be done by an approved Installer in accordance with the Manufaturers specifications

**2.21 Tile Walls**

* Ensure that the wall is completely smooth, level, hard, dry and clean before laying commences
* Only use A Grade Acid resisting Ceramic tiles, 10mm thick, 300 x 300mm in size
* Use SABS approved tile cement and apply as per Manufacturers instructions (colour to be confirmed by Project Manager)
* Use SABS approved water proof Acid resistant grout. Gaps 5 – 10mm (colour grey)

**2.22 Glazing**

* All Internal glass in panes not exceeding 1.5m² of surface area shall be 4mm clear float glass
* All Internal glass in panes exceeding 1.5m² of surface area shall be 6mm laminated safety glass with a Manufacturers warranty against defects and discoloration
* All Exterior glass up to a height of 10m in panes not exceeding 2.9m²of surface area shall be 6.38mm PVB Laminated annealed safety glass. Above 10m the Project Manager should appoint a Glazing Competent Person
* Mirrors to comply with SABS requirements. Unframed mirrors to have polished edges
* All glass in aluminium doors and frames to be fitted with 6mm laminated safety glass

**2.23 Blinds**

* Vertical Group 3 blinds to be installed (colour to be confirmed by Project Manager)
* Blinds to be re-measured on site before manufacturing and installation
* Measurements given is only for tendering purpose

**2.24 Lockers (Timber)**

* Timber lockers to be manufactured and assembled with 16mm melamine covered pressed wood. Exterior to be Oak melamine finish, including all visible edges. Interior to be White melamine finish, including all visible edges and backing. If the back side of any cupboard will be visible after installation, those exposed areas or entire area should be cladded with white melamine. Inside dimensions of each cubicle to be 300mm². Units to be assembled 3 on top of each other. Each locker to have a wrap around Oak melamine finished door, affixed with piano hinges. Each locker to be equipped with a lock and 2 keys as well as an aluminium handle (no plastic handles). Each stack of 3 to be assembled as 1 unit and 100mm adjustable chrome plated legs to be affixed underneath bottom locker.

**2.25 Lockers (Steel)**

* Solid steel lockers which should be epoxy powder coated to be supplied. Sets to be single 2 tier lockers. Colour to Ivory/Beige/Karoo. Each door to be lockable and correct size padlocks with 2 keys each, per locker, to be provided

**2.26 Locks**

* All exterior door locks to have 4 lever mortice locks with 2 keys each fitted (unless otherwise specified in bill)
* All interior door locks to have 2 lever mortice locks with 2 keys each fitted (unless otherwise specified in bill)
* All security type gates to have 7 lever locks with 2 keys each fitted
* All timber lockers to have normal cupboard locks with 2 keys each fitted
* All steel lockers to have padlocks with 2 keys each fitted

**2.27 Steel shelving**

* Only powder coated grey steel shelving to be installed in storage areas, archives & wash up areas (no wood allowed). Shelving to be of an adjustable type with each shelve at least 500mm wide and 450mm deep. Bottom shelve to be at least 200mm from the floor and top shelve not higher than 2 100mm. In between top and bottom another 3 shelves, evenly spaced, to be fitted (in total 5 tier shelving). Each vertical steel supports to be affixed to the wall at, at least 2 positions in the top half. As supplied by Krost shelving or similar

**2.28 Signage**

* All interior signs to be White Perspex with smooth edges, with vinyl (7 year) applied onto the Perspex
* All exterior signs to be White Chromadek , with vinyl (7 year) applied onto the metal
* Colour code:
* Pantone: Coated – 383C / Uncoated – 397 U
* CMYK – C:40 M:0 Y:100 K0
* RGB – R:166 G:206 B:54
* Artwork to be signed off by Project Manager before sign is manufactured

**PLEASE TAKE NOTE THAT THE ABOVE SPECIFICATIONS AND MEASUREMENTS ARE SUBJECT TO CHANGE AS MAY BE DETERMINED BY THE FINAL APPROVED DRAWINGS OR COMPULSARY SITE MEETING FOR THE JOB IN QUESTIO**

**NOTES:**

* During the alterations the Laboratory will have to continue to function, therefore it will have to be done in stages and after hours and weekends, some benches, electrical work and plumbing cannot be done at the same time. The last equipment will only arrive in January so the project will stretch well into January or late February 2014
* The alterations to the electrical work must be SANAS 10142 Hospital Standards compliant
* Plumbing must be Building Regulations compliant and copper pipes must be Class two.
* Joints on the copper pipes must be braised or copper to copper joints, no soldering is allowed.
* All penetrations through the floor or ceiling must be water and fire retardant sealed.
* All damages to the floor, ceiling, walls and worktops must be repaired.
* The legs and tops of the new work benches must match the existing, where possible materials can be reused for example power skirting, benches and plugs.
* Where plug sockets are removed circuits are not reused in the same vicinity the wiring must be removed and disconnected from the distribution board and the legend card updated.
* The new under bench cupboards must fit snugly under the worktops and between the legs.
* Measurements on the drawings and on the bill of quantities are approximately and not absolutely accurate.
* Open penetrations through the soft spots must be sealed with a special soft spot mixture, recipe available from GSH Engineering Department.
* All edges must be edged with impact edging
* All final accurate measurements must be made on site by the successful contractor
* Colours for the steel units to be discussed later
* The 30 amp isolator connectors must be similar to the ones specified by Roche Products
* Progress payments will be made for work completed on site

###### WORKS AGREEMENT

#### Contractor: The contactor shall:

* Provide adequate supervision and management of the works
* Provide toilet facilities for use by his workers except where provided by the employer
* Storage space is not always available for material and sufficient arrangements should be catered for and included in pricing
* Submit all local authority notices by the works
* Comply with all statutes, regulations and bylaws of local or other authorities having jurisdiction regarding the execution of the works and obtain all certificates and other documents required by such authorities
* Notify the Project Manager where compliance with any statute, regulation or bylaw requires a change or variation to the works upon which such change shall be deemed to be a contract instruction
* Immediately begin the works and continue at a rate of progress satisfactory to the Project Manager in terms of the agreement
* Comply with all contract instructions in good time
* Bring the works, within the constructed period, to practical completion in terms ofcompletion
* Bring the works to final completion
* Surplus material and waste to be carted away to a suitable dumping site to be found by the Contractor, outside the boundary of the site

#### Completion

* **Practical Completion**
* The Project Manager shall inspect the works from time to time to give the contractor interpretations and guidance on the standard and state of completion of the works which he will require the contractor to achieve for practical completion
* The contractor shall inform the Project Manager of the date on which he expects to achieve practical completion
* The Project Managershall inspect the works on or before the date requested by the contractor

##### Where the works:

* Has reached practical completion the Project Manager shall at once issue a certificate of practical completion to the contractor
* Has not reached practical completion the Project Manager shall issue a practical completion list to the contractor detailing the outstanding work to be done and defects to be rectified to achieve practical completion
* Is not ready for practical completion inspection the Project Managershall issue a list as a general guide to the contractor of the outstanding areas of work and defects to be attended to before he can request a further inspection

##### Final Completion

* Within seven calendar days of practical completion the Project Manager shall prepare and issue to the contractor a final completion list detailing the incomplete work and defects to be rectified within a reasonable period
* The defects liability period of fourteen calendar days shall start on the date of practical completion
* On the expiry of the defects liability period the Project Managershall immediately inspect the works for final completion. Where the works:
* Has reached final completion the Project Manager shall at once issue a certificate of final completion to the contractor
* 10-Has not reached final completion the Project Manager shall issue a defects list to the contractor detailing any incomplete work and defects to be rectified before the Project Manager will undertake a further inspection
* Where the contractor has achieved final completion the latent defects liability period shall end three years from the date of final completion
  1. Employer
* The employer shall:
* Hand over the site to the contractor by the date stated in the schedule. The construction period and latent defects liability period shall commence with the hand over of the site
* Arrange for water, sewer and electrical connections as required and pay all fees concerning this
* Provide water and electricity as required for the execution of the works free of charge
* Not issue instructions to, interfere with, hinder or obstruct any of the contractor's workers or any other persons employed or acting on behalf of the contractor

#### Risk and Insurance

* The Contractor indemnifies the NHLS against any loss in respect of claims from other parties arising out of or due to the execution of the works or occupation of the site by the contractor consequent upon:
* Death or bodily injury or illness of any person
* Physical loss and damage to any property other than the works
* Removal of or interference with lateral support of an adjoining property
* The contractor shall take out insurances in respect of his employees as are required by law
* Where, in the opinion of the Project Manager , loss and damage to the works due to the contractor's negligence the contractor shall be liable for such loss and damage
* The contractor shall in all circumstances be at risk for loss of, or damage to his construction plant or vehicles
* The contractor shall enclose the site along the facades where work is being done. He shall furthermore allow for all the required scaffolding, gantries, hoarding, etc to safeguard pedestrian traffic on the sidewalks or paths as well as vehicular traffic in the streets
* The form of scaffolding, gantries, hoardings, etc, must be fully detailed in his “method statement” as previously required. It is not the intention to prohibit or deviate pedestrians or traffic during construction and Tenderers are to account for this when pricing the Tender
* Adequate warning signs/ lights/ etc are to be employed where required. If the Tenderer requires the full pavement width and even part of the adjacent street then he must make all the necessary arrangements with local authorities for the pavement and street closure as well as pay for all fees in connection therewith including the loss of income due to parking meters
* The existing premises will be occupied at all times and the Contractor will be required to keep all noise to a minimum

**3.5 Safety**

* From the date of site handover to the Contractor until the completed work is handed back to the Employer, the Contractor shall be responsible for maintaining safe working conditions on site
* The Contractor shall be responsible in terms of the Occupational Health and Safety Act, 1993 ( Act No 85 of 1993) and the regulations promulgated in terms of the Act or Factories, Machinery and Buildings Work Act, whichever is applicable
* The Contractor shall be responsible for supplying and installing the required safety signs as determined by the Occupational Health and Safety Act, 1993 ( Act No 85 of 1993) All safety signs shall comply with the requirements of the latest edition of SANS 11861 as Applicable

**3.6 Programme**

* The Contractor shall submit his programme of work to the Project Manager not later than 14 days after the Contractor has been notified of the acceptance of his tender. If necessary the Project Manager may instruct the Contractor to adjust his programme to suit other activities

**NOTE:**

**Always read specification in conjunction with Bill of Quantities and Plan (if plan is applicable and supplied)**

**All Quantities measured are indicative and will be re-measured on completion**

**Specific products to be used, to be confirmed in Bill of Quantities**

**All materials and products to be used, to be ISO 9001 accredited**

**Variation orders can only be approved in writing by the NHLS Project Manager (certificate to be issued confirming VO and price implication)**

**All inspections will be conducted by NHLS Project Manager**

**3.7 Guarantee, maintenance, penalty and retention period**

* The Guarantee and Maintenance period shall be for 12 months commencing on the date of Practical completion and acceptance of the Installation. During the Guarantee period the Contractor shall repair all defects in the Installation which may arise as a result of inferior quality materials or faulty workmanship. 5% retention of the contract price will be held back for a period of 3 months after date of Practical completion and acceptance of the installation
* The fact that the Installation will be used and occupied by the Employer during the guarantee period shall in no way exempt the Contractor from his responsibility under this clause
* Should a non-urgent fault occur during the guarantee period the Contractor will be advised and he shall repair the fault in good time
* Should a fault occur during the guarantee period, that is in the opinion of the Project Manager of an urgent nature, then the Contractor will be advised and shall proceed immediately to rectify the fault
* Should a fault occur during the guarantee period, that is in the opinion of the Project Manager of an urgent nature, and the Contractor is not available, the Employer shall reserve the right to obtain the services of any available Contractor to repair the fault. The cost of such repair work shall be borne by the Contractor in accordance with the escalated rates. In such a case the faulty equipment shall be kept for scrutiny by the Contractor. If this occurs during the retention period and retention money is still due to the Contractor, such claim from the Alternative Contractor, will be deducted from the Retention fund
* Should the frequency and breakdown/s, in the opinion of the Project Manager, become so regular as to constitute and unacceptable state of affairs or should the installation or portions thereof prove to be unacceptable, the Contractor shall upon receipt of a written instruction from the Project Manager, replace portions/components or even the entire installation if need be, at his own cost as prescribed by the Project Manager
* Where the practical completion is not reached by the date stated in the Tender/ RFQ document or by the revised date granted by the Project Manager, the Contractor shall be liable to a Penalty determent by the Project Manager, which is in this instance .1% (point 1 percent) of the Tender/ RFQ Total value, Per Day

**3.8 Preliminaries**

* Tenderer’s attention is drawn to the fact that the Hospital and Laboratory will be fully operational during the building process. The work will have to be carried out in phases and at times that must be liased and agreed to with the Business Manager and Hospital Management. This might result in certain work being carried out at certain times only, even after hours of weekends. Also note that sensitive electronic equipment are in use and no work that cause a vibration can be carried out when these equipment are in operation. Operating theaters in the vicinity of the building work will also be in use during the building program and the Contractor must liase closely with the Hospital Management and obtain their written consent and permission, before removing and/or servicing equipment/structures, that might interfere with the running of the theaters or any other service/s. The use of certain lifts for moving of material will also have to be agreed to with the Hospital Management. The tenderer must allow for this in his prices since no additional claim will be entertained in this regard

1. **MANDATORY REQUIREMENTS**
   * **If a bidder does not comply fully with each of the mandatory requirements, it shall be regarded as mandatory non-performance/non-compliance and the bid SHALL be disqualified. No** “**unanswered**” **questions will be allowed. If a response to a question has been indicated as comply but not elaborated upon or substantiatedit shall be regarded as mandatory non-performance/non-compliance and the bid shall be disqualified.**
   * **Bidders shall provide full and accurate answers to the mandatory questions posed in this document, and, where required, explicitly state either "Comply/Accept (with a “Yes”)" or "Do not comply/do not accept (with a “No”)" regarding compliance to the requirements. Bidders must substantiate their responses to all mandatory questions**.
   * **PLEASE NOTE: If the response does not substantiate any of the points or requirements in the body of the tender, it will be deemed to not comply, even if the ‘Comply’ field has been marked.**
   * **Costs for evaluation studies in each laboratory will be paid by the supplier**
   * **Direct Material: cost ration of not more than 10%**
   * **Please note: All documentation to substantiate the mandatory requirements have to be supplied.**

## 4.1 MANDATORY

|  |  |  |
| --- | --- | --- |
| The supplier must provide at least two (2) contactable letter of recommendation/references from previous clients preferable from the CEO of that client. | Comply | Not Comply |
|  |  |
| **Substantiate**: The reference must be attached to the bid document. |  |  |

## 4.2 MANDATORY

|  |  |  |
| --- | --- | --- |
| The supplier must have at least 3 years Related Company Experience | Comply | Not Comply |
|  |  |
| **Substantiate**: (provide signed letters / certificates) |  |  |

## 4.3 MANDATORY

|  |  |  |
| --- | --- | --- |
| Specify number of Company Vehicles assigned to this project | Comply | Not Comply |
|  |  |
| **Substantiate**: (provide copies of vehicle registration certificates) |  |  |

## 4.4 MANDATORY

|  |  |  |
| --- | --- | --- |
| **Substantiate**: Location details | Comply | Not Comply |
|  |  |
| **Substantiate**: provide proof of offices/ workshops/factories where operating from |  |  |

**COSTING TEMPLATE**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Description** | **Unit** | **Quantity** | **Rate** | **Cost excl vat** |
| **HAEMATOLOGY:** |  |  |  |  |
| Remove double glass door including access |  | Item |  |  |
| Break opening in dry wall partition, supply and fit aluminium frame to accommodate existing double glass door | No | 1 |  |  |
| Fit existing double glass door to aluminium frame, new aluminum hinges, lock set and handle and door closer | No | 1 |  |  |
| Supply and fit new sound proof dry wall partition to match existing up to ceiling | m | 2 |  |  |
| Supply and fit double channel power skirting to match existing including bends and end caps | m | 2.5 |  |  |
| Remove electronic door opener and re-mount next to new glass door, extend wiring via power skirting |  | Item |  |  |
| Move existing Formica work bench all the way to the left against new dry wall partition |  | Item |  |  |
| Supply and fit 15 amp dedicated power skirting plugs to existing power skirting, wired from distribution board to prevent overloading, allow for circuit breakers and wiring, positions will be pointed out at site briefing | No | 6 |  |  |
| Supply and fit 15 amp black emergency power skirting plugs to existing power skirting, wired from distribution board to prevent overloading, allow for circuit breakers and wiring, positions will be pointed out at site briefing | No | 5 |  |  |
| Supply and fit 15 amp standard power skirting plugs to existing power skirting, wired from distribution board to prevent overloading, allow for circuit breakers and wiring, positions will be pointed out at site briefing | No | 2 |  |  |
| Supply and fit melamine shelving on the leg structure at the bottom of the bench of the floor, 1200mm x 520mm | No | 7 |  |  |
| Supply and fit melamine boxes to accommodate computer boxes, boxes to be mounted underneath Formica work top, will show examples at the site briefing | No | 6 |  |  |
| Drill 70mm holes in Formica worktop and fit PVC grommets | No | 6 |  |  |
| Supply and deliver steel powder coated under bench cupboards 750mm high x 1100mm wide with 2 drawers on top and 2 doors at the bottom with adjustable shelve in the middle on lockable caster wheels as per specification, please see notes on cupboard units | No | 4 |  |  |
| Remove book shelve at the far right end and re-fit to the new bench |  | Item |  |  |
| Supply and install steel square tubing frames width 800mm, height 925mm and colour to match existing as per specification | m | 2.3 |  |  |
| Supply and fit 32mm x 900mm Formica Postform top, to match existing | m | 2.4 |  |  |
| Remove coat hooks and re-fit elsewhere |  | Item |  |  |
|  |  |  |  |  |
| **HAEMATOLOGY-2:** |  |  |  |  |
| Cut work bench and steel frame in line with pillar and remove including all services |  | Item |  |  |
| Supply and fit double channel power skirting to match existing including bends and end caps, positions will be pointed out at site briefing | m | 2 |  |  |
| Supply and fit 15 amp dedicated (red) power skirting plugs to existing power skirting, wired from distribution board to prevent overloading, allow for circuit breakers and wiring, positions will be pointed out at site briefing | No | 2 |  |  |
| Supply and fit 15 amp standard power skirting plugs to existing power skirting, wired from distribution board to prevent overloading, allow for circuit breakers and wiring, positions will be pointed out at site briefing | No | 5 |  |  |
| Supply and fit 30 amp single phase isolator wired from distribution board, allow for circuit breakers and wiring, position will be pointed out at site briefing | No | 1 |  |  |
| Supply and install steel square tubing frames 800mm wide and 870mm high and 1500mm wide on 100mm lockable caster wheels, with 32mm x 900mm Formica Postform top, fit sliding doors with a bottom shelve just above the wheels, back and side panels must be closed as per specification. Fit an adjustable shelf | No | 1 |  |  |
| Supply and fit pipe from C 20 water room through interfloor to position that will be pointed out at site briefing including shut off valve and connections | m | 70 |  |  |
| Remove existing water and drain pipes, close holes as per GSH Engineering Department standards | No | 6 |  |  |
| Drill new holes for water and drainage through the soft spots, position will be pointed out at site briefing, sealing holes off as per GSH Engineering Department standards. Allow for re-connecting in the inter floor. Construct drains and allow for water connection | No | 6 |  |  |
| Supply and fit aluminium power poles mounted against the ceiling and on the floor, position will be pointed out at site briefing | No | 2 |  |  |
| Supply and fit 15 amp black emergency plugs to each power pole, wired from distribution board to prevent overloading, allow for circuit breakers and wiring, positions will be pointed out at site briefing | No | 2 |  |  |
| Supply and fit 15 amp dedicated power skirting plugs to each power pole, wired from distribution board to prevent overloading, allow for circuit breakers and wiring, positions will be pointed out at site briefing | No | 2 |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
| **PRE-ANALYTICAL** |  |  |  |  |
| Remove aluminium glass structure above bench and cart away |  | Item |  |  |
| Remove Formica Postform work bench, dry wall partition and all electrical and plumbing services and make good |  | Item |  |  |
| Build Melamine cupboard to house High Pressure Installation with two doors mounted with Piano hinges, 700mm x 250mm x 900mm . Must have handles | No | 1 |  |  |
| Build a Melamine cover cupboard for the Compressor and UPS. 2000mm x 750mm x 500mm. Two doors mounted with piano hinges and handles | No | 1 |  |  |
| Supply and fit 30 amp single phase isolator wired from distribution board, allow for circuit breakers and wiring, position will be pointed out at site briefing | No | 1 |  |  |
| Supply and fit aluminium power pole to house the 30 amp power supply | No | 1 |  |  |
| Supply and fit two 15 amp black emergency and one white normal supply plugs to the power pole, wired from distribution board. Allow for circuit breakers and wiring. Position will be pointed out at the site briefing | No | 3 |  |  |
| Supply and fit wall band shelving against wall, 1750mm x 320mm deep, bottom shelve to be 450mm above Formica Postform worktop, shelves to be 400mm apart |  | Item |  |  |
| Supply and fit 15 amp dedicated power skirting plugs to existing power skirting, wired from distribution board to prevent overloading, allow for circuit breakers and wiring, positions will be pointed out at site briefing | No | 2 |  |  |
| Supply and fit 15 amp standard power skirting plugs to existing power skirting, wired from distribution board to prevent overloading, allow for circuit breakers and wiring, positions will be pointed out at site briefing | No | 2 |  |  |
| Remove bumper rails from wall, close holes |  | Item |  |  |
| Supply and fit steel shelving, 2110mm high x 1032mm wide x 350mm deep, with 4 shelves and shelves must be 420mm apart, shelve units to be mounted against wall, shelves to be re-enforced to carry the weight | No | 3 |  |  |
| Supply and install steel square tubing frames 600mm wide and 720mm high on lockable caster wheels as per specification. Frames must be in sections of 1200mm to match existing | m | 4.7 |  |  |
| Supply and fit 32mm x 700mm Formica Postform top to match existing | m | 4.8 |  |  |
| Supply and deliver steel powder coated under bench shelving units 700mm high x 1100mm wide with 2 adjustable shelves evenly spaced on lockable caster wheels as per specification to fit snugly under the work top and between the leg structures | No | 4 |  |  |
| Supply and fit 15 amp black emergency power skirting plugs to existing power skirting, wired from distribution board to prevent overloading, allow for circuit breakers and wiring, positions will be pointed out at site briefing | No | 3 |  |  |
| Supply and fit 15 amp standard power skirting plugs to existing power skirting, wired from distribution board to prevent overloading, allow for circuit breakers and wiring, positions will be pointed out at site briefing | No | 3 |  |  |
| Supply and install steel square tubing frames 1100mm wide and 750mm high and 3600mm long on lockable caster wheels as per specification. Frames must be in sections of 1200mm to match existing | No | 2 |  |  |
| Supply and install steel square tubing frames 1100mm wide and 750mm high and 2400mm long on lockable caster wheels as per specification. Frames must be in sections of 1200mm to match existing | No | 1 |  |  |
| Supply and fit 32mm x 1200mm wide Formica postform top to steel frames | m | 10 |  |  |
| Supply and fit aluminium power poles mounted against the ceiling and on the floor, position will be pointed out at site briefing | No | 5 |  |  |
| Supply and fit double channel power skirting to match existing including bends and end caps on benches, positions will be pointed out at site briefing | m | 10 |  |  |
| Supply and fit 15 amp dedicated power skirting plugs to new power skirting, wired from distribution board to prevent overloading, allow for circuit breakers and wiring, positions will be pointed out at site briefing | No | 16 |  |  |
| Supply and fit 15 amp black emergency power skirting plugs to new power skirting, wired from distribution board to prevent overloading, allow for circuit breakers and wiring, positions will be pointed out at site briefing | No | 16 |  |  |
| Supply and fit 15 amp standard power skirting plugs to new power skirting, wired from distribution board to prevent overloading, allow for circuit breakers and wiring, positions will be pointed out at site briefing | No | 16 |  |  |
| Supply and fit double channel power skirting to match existing including bends and end caps against ceiling, positions will be pointed out at site briefing | m | 12 |  |  |
| Supply and install steel square tubing frames 500mm wide and 720mm high and 3900mm long on lockable caster wheels as per specification. Frames must be in sections of 1000mm as per specification | No | 1 |  |  |
| Supply and fit 32mm x 600mm Formica Postform top to steel frame | m | 4 |  |  |
| Supply and fit steel structure above bench, with 4 steel shelves 4000mm wide x 300mm deep must be evenly spaced 250mm apart, the supports must only be at both ends and not in-between, shelves to have extra support at both ends to carry the weight |  | Item |  |  |
| Supply and deliver steel powder coated under bench cupboards 700mm high x 750mm wide with 2 adjustable shelves evenly spaced on lockable caster wheels as per specification. To fit snugly under the worktop and between the leg structures. Note that these cupboards do not form part of the 15 units specified in the “ notes” section as they are to be custom made for this unit. | No | 4 |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
| **CHEMISTRY:** |  |  |  |  |
| Manufacture and supply three stands for UPS’s 700mm x 500mm x 100mm off the ground. Can be a piece of solid wood with legs | No | 3 |  |  |
| Supply two Evara ( CDXHM/A90/10) 0.75 KW water pumps | No | 2 |  |  |
| Remove existing bench tops with steel frames and all services, can be modified and re-fitted elsewhere | m | 17 |  |  |
| Remove power poles, disconnect power and make safe | No | 4 |  |  |
| Supply and install steel square tubing frames 800mm wide and 750mm high on lockable castor wheels as per specification. Frames must be in sections to match existing | m | 3.1 |  |  |
| Supply and fit 32mm x 900mm Formica postform top to match existing | m | 3.3 |  |  |
| Supply and install steel square tubing frames 800mm wide and 870mm high on lockable caster wheels as per specification. Frames must be in sections of 1200mm to match existing | m | 1.2 |  |  |
| Supply and install steel square tubing frames 800mm wide and 870mm high on lockable caster wheels as per specification. Frames must be in sections of 1200mm to match existing | m | 1.5 |  |  |
| Supply and fit 32mm x 900mm Formica Postform top to match existing | m | 3 |  |  |
| Supply and fit double channel power skirting to match existing including bends and end caps on benches and on ceiling, positions will be pointed out at site briefing | m | 20 |  |  |
| Supply and fit 15 amp dedicated power skirting plugs to new power skirting, wired from distribution board to prevent overloading, allow for circuit breakers and wiring, positions will be pointed out at site briefing | No | 12 |  |  |
| Supply and fit 15 amp black emergency power skirting plugs to new power skirting, wired from distribution board to prevent overloading, allow for circuit breakers and wiring, positions will be pointed out at site briefing | No | 12 |  |  |
| Supply and fit 15 amp standard power skirting plugs to new power skirting, wired from distribution board to prevent overloading, allow for circuit breakers and wiring, positions will be pointed out at site briefing | No | 12 |  |  |
| Supply and fit aluminium power poles mounted against the ceiling and on the floor, each power pole to have one dedicated, two black emergency and one normal 15 amp plug point wired from distribution board position will be pointed out at site briefing | No | 5 |  |  |
| Supply and fit 30 amp single phase isolator wired from distribution board, allow for circuit breakers and wiring, position will be pointed out at site briefing | No | 2 |  |  |
| Supply and fit melamine boxes to accommodate computer boxes, boxes to be mounted underneath Formica work top, will show examples at the site briefing | No | 6 |  |  |
| Remove existing water and drain pipes, close holes as per GSH Engineering Department standards | No | 6 |  |  |
| Drill new holes for water and drainage through the soft spots, position will be pointed out at site briefing, sealing holes off as per GSH Engineering Department standards. Allow for re-connections in the interfloor | No | 6 |  |  |
| Supply and manufacture 1300mm high x 350mm deep x 1000mm wide powder coated steel trolley on 100mm lockable castor wheels with adjustable shelves evenly spaced, bottom shelve to be 150mm from the floor. Must have a back plate | No | 4 |  |  |
| Modify the modular shelving unit in the walk-in fridge. It will be shortening 64 shelf supports |  | Item |  |  |
| Supply a notice board 1200mm x 1000mm, the bottom to be 750mm from the floor. Unit must be on wheels | No | 1 |  |  |
| Supply and fit under counter steel powder coated cupboards. Must fit neatly under the top and between the leg structures. This does not include the under counter shelving only the cupboard units as per drawing. Finer detail will be discussed at site briefing. 11 at worktop height and 4 at desktop height. | No | 15 |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
| **GENERAL:** |  |  |  |  |
| Prepare floor to smooth finish, supply and install 2mm Eclipse Pur vinyl sheeting with welded joints to match existing as per specification, positions will be pointed out at site briefing | m2 | 35 |  |  |
| Supply and install vinyl skirting 100mm high and 100mm on floor to match existing, positions will be pointed out at site briefing | m | 15 |  |  |
| Prepare and paint walls and ceiling where benches and power poles are removed and new wall are erected, 2 coats to match existing as per specification | m2 | 150 |  |  |
| Where plugs are removed from power skirting or power poles, circuit must be disconnected at the distribution board or re-used and the legend card must be updated |  | Item |  |  |
| Supply COC on completion |  | Item |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
| Preliminaries and General |  |  |  |  |
| TOTAL |  |  |  |  |
| PLUS 14% VAT |  |  |  |  |
| GRAND TOTAL |  |  |  |  |
| Estimated time to complete work above |  |  |  |  |

Pricing Schedule

1. Please indicate your total bid price here: R…………………………… **(compulsory)**
2. **Important: It is mandatory to indicate your total bid price as requested above. This price must be the same as the total bid price you submit in your pricing schedule. Should the total bid prices differ, the one indicated above shall be considered the correct price.**
3. **NOTE–All prices must be VAT exclusive and must be quoted in South African Rand (ZAR).**
4. All prices must be firm and fixed from the tender closing date and for the duration of the contract
5. **NOTE–**All the consortium or joint venture partners must submit a complete set of the latest audited financial statements.

|  |  |  |
| --- | --- | --- |
| The cost of installation, delivery, site preparation etc. Must be included in this proposal. | Comply | Not comply |
|  |  |
| Substantiate / Comments | | |

|  |  |  |
| --- | --- | --- |
| No price adjustments that are 100% linked to exchange rate variations shall be allowed. | Comply | Not comply |
|  |  |
| Substantiate / Comments | | |

|  |  |  |
| --- | --- | --- |
| The bidder must indicate **clearly** which portion of the purchase price as well as the monthly costs is linked to the exchange rate. | Comply | Not comply |
|  |  |
| Substantiate / Comments | | |

|  |  |  |
| --- | --- | --- |
| All additional costs must be clearly specified. | Comply | Not comply |
|  |  |
| Substantiate / Comments | | |

**NOTE: The pricing must be submitted in a separate envelope.**

1. Pricing

**Price Declaration Form**

**Dear Madam /Sir,**

Having read through and examined the Tender Document, **RFB No: 037/13-14** General Conditions, The Requirement and all other Annexures to the Tender Document, we offer to provide

**RENOVATIONS TO MICROBIOLOGY, GROOTE SCHUUR LABORATORY: NHLS** as detailed in the **RFB037/13-14**, for the total Tendered Contract Sum of in words:

R\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (VAT Incl.)

We confirm that this price covers all activities associated with the **RENOVATIONS TO MICROBIOLOGY, GROOTE SCHUUR LABORATORY: NHLS,**including but not limited to the supply of all required, for**RENOVATIONS TO MICROBIOLOGY, GROOTE SCHUUR : NHLS,**We confirm that NHLS will incur no additional costs whatsoever over and above this amount in connection with the supply of this solution.

We further confirm that all licences required for complete implementation of the solution, and the costs associated therewith, as well as any licences that may be required for future expansion have been fully described and disclosed in this document.

We undertake to hold this offer open for acceptance for a period of 90 days from the date of submission of offers.  We further undertake that upon final acceptance of our offer, we will commence with delivery when required to do so by the Client.

Moreover, we agree that until formal Contract Documents have been prepared and executed, this Form of Tender, together with a written acceptance from the Client shall constitute a binding agreement between us, governed by the terms and conditions set out in this Request for Proposals.

We understand that you are not bound to accept the lowest or any offer and that we must bear all costs which we have incurred in connection with preparing and submitting this tender.

We hereby undertake for the period during which this tender remains open for acceptance not to divulge to any persons, other than the persons to which the tender is submitted, any information relating to the submission of this tender or the details therein except where such is necessary for the submission of this tender.

|  |  |  |  |
| --- | --- | --- | --- |
| **SIGNED** |  | **DATE** |  |

|  |  |
| --- | --- |
| **(Print name of signatory)** |  |
| **Designation** |  |

|  |  |  |
| --- | --- | --- |
| **FOR AND ON BEHALF OF:** | **COMPANY NAME** |  |
|  | **Tel No** |  |
|  | **Fax No** |  |
|  | **Cell No** |  |

**NOTE: The pricing must be submitted in a separate envelope.**

1. Tax Clearance Requirements (SBD2)

**SBD 2**

1 It is a condition of bid that the taxes of the successful bidder must be in order, or that satisfactory arrangements have been made with South African Revenue Service (SARS) to meet the bidder’s tax obligations.

2 In order to meet this requirement bidders are required to complete in full the attached form TCC 001 “Application for a Tax Clearance Certificate” and submit it to any SARS branch office nationally. The Tax Clearance Certificate requirements are also applicable to foreign bidders/individuals who wish to submit bids.

3 SARS shall then furnish the bidder with a Tax Clearance Certificate that shall be valid for a period of one (1) year from the date of approval.

4 The original Tax Clearance Certificate must be submitted together with the bid. Failure to submit the original and valid Tax Clearance Certificate shall result in the invalidation of the bid. Certified copies of the Tax Clearance Certificate shall not be acceptable.

5 In bids where Consortia / Joint Ventures / subcontractors are involved, each party must submit a separate Tax Clearance Certificate.

6 Copies of the TCC 001 “Application for a Tax Clearance Certificate” form are available from any SARS branch office nationally or on the website [www.sars.gov.za](http://www.sars.gov.za).

7 Applications for the Tax Clearance Certificates may also be made via eFiling. In order to use this provision, taxpayers shall need to register with SARS as eFilers through the website www.sars.gov.za.

TAX CLEARANCE 

**Application for a Tax Clearance Certificate**

**Particulars of applicant**



**Particulars of representative (Public Officer/Trustee/Partner)** 

**Page 1 of 2**

**Particulars of tender (If applicable)**

**Audit**



**Appointment of representative/agent (Power of Attorney)**



**Declaration**



**Notes:**

1. It is a serious offence to make a false declaration.

2. Section 75 of the Income Tax Act, 1962, states: Any person who

* 1. (a) fails or neglects to furnish, file or submit any return or document as and when required by or under this Act; or
  2. (b) without just cause shown by him, refuses or neglects to­
  3. (i) furnish, produce or make available any information, documents or things;
  4. (ii) reply to or answer truly and fully, any questions put to him ...  
     As and when required in terms of this Act ... shall be guilty of an offence ...

1. **SARS shall, under no circumstances, issue a Tax Clearance Certificate unless this form is completed in full.**
2. Your Tax Clearance Certificate shall only be issued on presentation of your South African Identity Document or Passport (Foreigners only) as applicable.

**(SBD4)**

**DECLARATION OF INTEREST**

1. Any legal person, including persons employed by the state¹, or persons having a kinship with persons employed by the state, including a blood relationship, may make an offer or offers in terms of this invitation to bid (includes a price quotation, advertised competitive bid, limited bid or proposal). In view of possible allegations of favouritism, should the resulting bid, or part thereof, be awarded to persons employed by the state, or to persons connected with or related to them, it is required that the bidder or his/her authorised representative declare his/her positionin relation to the evaluating/adjudicating authority where-

- the bidder is employed by the state; and/or

- the legal person on whose behalf the bidding document is signed, has a relationship with persons/a person who are/is involved in the evaluation and or adjudication of the bid(s), or where it is known that such a relationship exists between the person or persons for or on whose behalf the declarant acts and persons who are involved with the evaluation and or adjudication of the bid.

2. **In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.**

2.1 Full Name of bidder or his or her representative: …………………………………………………….

* 1. Identity Number: …………………………………………………………………………………………
  2. Position occupied in the Company (director, trustee, shareholder…………………………………..
  3. Company Registration Number……………………………………………………………………..…….
  4. Tax Reference Number:………………………………………………………………………….………
  5. VAT Registration Number:……………………………………………………………………………....

2.6.1 The names of all directors / trustees / shareholders / members, their individual identity numbers, tax reference numbers and, if applicable, employee / persal numbers must be indicated in paragraph 3 below.

¹“State” means –

(a) any national or provincial department, national or provincial public entity or constitutional institution within the meaning of the Public Finance Management Act, 1999 (Act No. 1 of 1999);

(b) any municipality or municipal entity;

(c) provincial legislature;

(d) national Assembly or the national Council of provinces; or

(e) Parliament.

²”Shareholder” means a person who owns shares in the company and is actively involved in the management of the enterprise or business and exercises control over the enterprise.

|  |  |  |
| --- | --- | --- |
| 2.7 | Are you or any person connected with the bidder presently employed by the state? | **YES/NO** |
| 2.7.1 | If so, furnish the following particulars: |  |
|  | Name of person/director/trustee/ shareholder/member: | ……………………………………………… |
|  | Name of state institution at which you or the person connected to the bidder is employed: | ……………………………………………… |
|  | Position occupied in the state institution: | ……………………………………………… |
|  |  |  |
|  | Any other particulars:  ……………………................................................  ……………………………………………………….  ………………………………………………………. |  |
|  |  |  |
| 2.7.2 | If you are presently employed by the state, did you obtain the appropriate authority to undertake remunerative work outside employment in the public sector? | **YES/NO** |
|  |  |  |
| 2.7.2.1 | If yes, did you attach proof of such authority to the bid document?  **(Note: Failure to submit proof of such authority, where applicable, may result in the disqualification of the bid.)** | **YES/NO** |
|  |  |  |
| 2.7.2.2 | If no, furnish reasons for non-submission of such proof:  ………………………………………………………  ………………………………………………………  ……………………………………………………… |  |
|  |  |  |
| 2.8 | Did you or your spouse, or any of the company’s directors / trustees / shareholders / members or their spouses conduct business with the state in the previous 12 months? | **YES/NO** |
|  |  |  |
| 2.8.1 | If so, furnish particulars:  ………………………………………………………  ………………………………………………………  ……………………………………………………… |  |
|  |  |  |
| 2.9 | Do you or any person connected with the bidder, have any relationship (family, friend, other) with a person employed by the state and who may be involved with the evaluation and/or adjudication of this bid? | **YES/NO** |
|  |  |  |
| 2.9.1 | If so, furnish particulars:  ………………………………………………………  ………………………………………………………  ……………………………………………………… |  |
|  |  |  |
| 2.10 | Are you, or any person connected with the bidder, aware of any relationship (family, friend, other) between any other bidder and any person employed by the state who may be involved with the evaluation and/or adjudication of this bid? | **YES/NO** |
|  |  |  |
| 2.10.1 | If so, furnish particulars:  ………………………………………………………  ………………………………………………………  ……………………………………………………… |  |
|  |  |  |
| 2.11 | Do you or any of the directors / trustees / shareholders / members of the company have any interest in any other related companies whether or not they are bidding for this contract? | **YES/NO** |
|  |  |  |
| 2.11.1 | If so, furnish particulars:  ………………………………………………………  ………………………………………………………  ……………………………………………………… |  |

# Full details of directors / trustees / members / shareholders.

|  |  |  |  |
| --- | --- | --- | --- |
| **Full Name** | **Identity Number** | **Personal Tax Reference Number** | **State Employee Number / Persal Number** |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

# 4. DECLARATION

I, THE UNDERSIGNED (NAME)………………………………………………………………………

CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 2 and 3 ABOVE IS CORRECT.

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 23 OF THE GENERAL CONDITIONS OF CONTRACT SHOULD THIS DECLARATION PROVE TO BE FALSE.

………………………………….. .......................…………………………

Signature Date

…………………………………. ………………………………………………

Position Name of bidder

May 2011

1. National Industrial Participation (SBD5)

**SBD5**

This document must be signed and submitted together with your bid   
**THE NATIONAL INDUSTRIAL PARTICIPATION PROGRAMME**

**INTRODUCTION**

The National Industrial Participation (NIP) Program, which is applicable to all government procurement contracts that have an imported content, became effective on the 1 September 1996. The NIP policy and guidelines were fully endorsed by Cabinet on 30 April 1997. In terms of the Cabinet decision, all state and parastatal purchases / lease contracts (for goods, works and services) entered into after this date, are subject to the NIP requirements. NIP is obligatory and therefore must be complied with. The Industrial Participation Secretariat (IPS) of the Department of Trade and Industry (DTI) is charged with the responsibility of administering the program.

**1 PILLARS OF THE PROGRAMME**

1.1 The NIP obligation is benchmarked on the imported content of the contract. Any contract having an imported content equal to or exceeding US$ 10 million or other currency equivalent to US$ 10 million shallhave an NIP obligation. This threshold of US$ 10 million can be reached as follows:

1. (a) Any single contract with imported content exceeding US$10 million. or
   1. (b) Multiple contracts for the same goods, works or services each with imported content exceeding US$3 million awarded to one seller over a 2 year period which in total exceeds US$10 million.
   2. or
   3. (c) A contract with a renewable option clause, where should the option be
   4. exercised the total value of the imported content shall exceed US$10 million. or
2. (d) Multiple suppliers of the same goods, works or services under the same contract, where the value of the imported content of each allocation is equal to or exceeds US$ 3 million worth of goods, works or services to the same government institution, which in total over a two (2) year period exceeds US$10 million.

1.2 The NIP obligation applicable to suppliers in respect of sub-paragraphs 1.1 (a) to 1.1 (c) above shall amount to 30 % of the imported content whilst suppliers in respect of paragraph 1.1 (d) shall incur 30% of the total NIP obligation on a *pro-rata* basis.

1.3 To satisfy the NIP obligation, the DTI would negotiate and conclude agreements such as investments, joint ventures, sub-contracting, licensee production, export promotion, sourcing arrangements and research and development (R&D) with partners or suppliers.

1.4 A period of seven years has been identified as the time frame within which to discharge the obligation.

**2 REQUIREMENTS OF THE DEPARTMENT OF TRADE AND INDUSTRY**

2.1 In order to ensure effective implementation of the program, successful bidders (contractors) are required to, immediately after the award of a contract that is in excess of **R10 million** (ten million rand), submit details of such a contract to the DTI for reporting purposes.

2.2 The purpose for reporting details of contracts in excess of the amount of R10 million (ten million rand) is to cater for multiple contracts for the same goods, works or services; renewable contracts and multiple suppliers for the same goods, works or services under the same contract as provided for in paragraphs 1.1.(b) to 1.1. (d) above.

**3 BID SUBMISSION AND CONTRACT REPORTING REQUIREMENTS OF BIDDERS AND SUCCESSFUL BIDDERS (CONTRACTORS)**

3.1 Bidders are required to sign and submit this Standard Bidding Document (SBD 5) together with the bid on the closing date and time.

3.2 In order to accommodate multiple contracts for the same goods, works or services; renewable contracts and multiple suppliers for the same goods, works or services under the same contract as indicated in sub-paragraphs 1.1 (b) to 1.1

(d) above and to enable the DTI in determining the NIP obligation, successful bidders (contractors) are required, immediately after being officially notified about any successful bid with a value in excess of R10 million (ten million rand), to contact and furnish the DTI with the following information:

* bid or contract number.
* descriptionof the goods, works or services.
* dateon which the contract was accepted.
* name, address and contact details of the government institution.
* valueof the contract.
* importedcontent of the contract, if possible.

3.3 The information required in paragraph 3.2 above must be sent to the Department of Trade and Industry, Private Bag X 84, Pretoria, 0001 for the attention of Mr. Elias Malapane within five (5) working days after award of the contract. Mr.Malapane may be contacted at telephone(012) 394 1401, facsimile (012) 394 2401 or e-mail at Elias@thedti.gov.za for further details about the program.

**4 PROCESS TO SATISFY THE NIP OBLIGATION**

4.1 Once the successful bidder (contractor) has made contact with and furnished the DTI with the information required, the following steps shall be followed:

1. a. the contractor and the DTI shall determine the NIP obligation;
2. b. the contractor and the DTI shall sign the NIP obligation agreement;
3. c. the contractor shall submit a performance guarantee to the DTI;
4. d. the contractor shall submit a business concept for consideration and approval
5. by the DTI;
6. e. upon approval of the business concept by the DTI, the contractor shall submit detailed business plans outlining the business concepts;
7. f. the contractor shall implement the business plans; and
8. g. the contractor shall submit bi-annual progress reports on approved plans to the DTI.

4.2 The NIP obligation agreement is between the DTI and the successful bidder (contractor) and, therefore, does not involve the purchasing institution.

Bid number…………………………………………………… Closing date…………………………………………

Name of bidder…………………………………………………………………………………………………………………………..

Postal address……………………………………………………………………………………………………………………………

…………………………………………………………………………………………………………………………………………………..

Signature……………………………………………………..Name(in print)………………………..………………………….

Date……………………………………………………………..

1. Declaration Of Bidders Past Supply Chain Practices (SBD8)

**SBD8**

**DECLARATION OF BIDDER’S PAST SUPPLY CHAIN MANAGEMENT PRACTICES**

1. This Standard Bidding Document must form part of all bids invited.
2. It serves as a declaration to be used by institutions in ensuring that when goods and services are being procured, all reasonable steps are taken to combat the abuse of the supply chain management system.
3. The bid of any bidder may be disregarded if that bidder, or any of its directors have:
   1. abused the institution’s supply chain management system;
   2. committed fraud or any other improper conduct in relation to such system; or
   3. failed to perform on any previous contract.
4. **In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.**

|  |  |  |  |
| --- | --- | --- | --- |
| **Item** | **Question** | **Yes** | **No** |
| 4.1 | Is the bidder or any of its directors listed on the National Treasury’s database as companies or persons prohibited from doing business with the public sector?  (Companies or persons who are listed on this database were informed in writing of this restriction by the National Treasury after the *audialterampartem* rule was applied). | Yes | No |
| 4.1.1 | If so, furnish particulars: | | |
| 4.2 | Is the bidder or any of its directors listed on the Register for Tender Defaulters in terms of section 29 of the Prevention and Combating of Corrupt Activities Act (No 12 of 2004)?  **To access this Register enter the National Treasury’s website,** [**www.treasury.gov.za**](http://www.treasury.gov.za)**, click on the icon “Register for Tender Defaulters” or submit your written request for a hard copy of the Register to facsimile number (012) 3265445.** | Yes | No |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Item** | |  |  |  |  | | --- | --- | --- | --- | |  | **Question** | **Yes** | **No** | | | |
| 4.2.1 | If so, furnish particulars: | | |
| 4.3 | Was the bidder or any of its directors convicted by a court of law (including a court outside of the Republic of South Africa) for fraud or corruption during the past five years? | Yes | No |
| 4.3.1 | If so, furnish particulars: | | |
| 4.4 | Was any contract between the bidder and any organ of state terminated during the past five years on account of failure to perform on or comply with the contract? | Yes | No |
| 4.4.1 | If so, furnish particulars: | | |

**CERTIFICATION**

**I, THE UNDERSIGNED (FULL NAME)…………………………………………………**

**CERTIFY THAT THE INFORMATION FURNISHED ON THIS DECLARATION FORM IS TRUE AND CORRECT.**

**I ACCEPT THAT, IN ADDITION TO CANCELLATION OF A CONTRACT, ACTION MAY BE TAKEN AGAINST ME SHOULD THIS DECLARATION PROVE TO BE FALSE.**

**………………………………………... …………………………..**

**Signature Date**

**………………………………………. …………………………..**

**Position Name of Bidder**

1. Preferential Procurement Claim Form(SBD6.1)

**SBD 6.1**

**PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2011**

This preference form must form part of all bids invited. It contains general information and serves as a claim form for preference points for Broad-Based Black Economic Empowerment (B-BBEE) Status Level of Contribution

**NB: BEFORE COMPLETING THIS FORM, BIDDERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF B-BBEE, AS PRESCRIBED IN THE PREFERENTIAL PROCUREMENT REGULATIONS, 2011.**

1. **GENERAL CONDITIONS**
   1. The following preference point systems are applicable to all bids:

* the 80/20 system for requirements with a Rand value of up to R1 000 000 (all applicable taxes included); and
* the 90/10 system for requirements with a Rand value above R1 000 000 (all applicable taxes included).
  1. The value of this bid is estimated to exceed/not exceed R1 000 000 (all applicable taxes included) and therefore the…80/20 or 90/10…………………system shall be applicable.
  2. Preference points for this bid shall be awarded for:

1. Price; and
2. B-BBEE Status Level of Contribution.

1.3.1 The maximum points for this bid are allocated as follows:

**POINTS**

**1.3.1.1 PRICE** 80/90…………..

**1.3.1.2 B-BBEE STATUS LEVEL OF CONTRIBUTION** 20/10…………...

**Total points for Price and B-BBEE must not exceed** **100**

1.4 Failure on the part of a bidder to fill in and/or to sign this form and submit a B-BBEE Verification Certificate from a Verification Agency accredited by the South African Accreditation System (SANAS) or a Registered Auditor approved by the Independent Regulatory Board of Auditors (IRBA) or an Accounting Officer as contemplated in the Close Corporation Act (CCA) together with the bid, will be interpreted to mean that preference points for B-BBEE status level of contribution are not claimed.

1.5. The purchaser reserves the right to require of a bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the purchaser.

**2. DEFINITIONS**

2.1  **“all applicable taxes”** includes value-added tax, pay as you earn, income tax, unemployment insurancefund contributions and skills development levies;

2.2 **“B-BBEE”** means broad-based black economic empowerment as defined in section 1 of the Broad-Based Black Economic Empowerment Act;

2.3 “**B-BBEE status level of contributor”** means the B-BBEE status received by a measured entity basedon its overall performance using the relevant scorecard contained in the Codes of Good Practice on Black Economic Empowerment, issued in terms of section 9(1) of the Broad-Based Black EconomicEmpowerment Act;

2.4 **“bid”** means a written offer in a prescribed or stipulated form in response to an invitation by an

organ of state for the provision of services, works or goods, through price quotations, advertised

competitive bidding processes or proposals;

2.5 **“Broad-Based Black Economic Empowerment Act”** means the Broad-Based Black Economic

Empowerment Act, 2003 (Act No. 53 of 2003);

2.6 **“comparative price”** means the price after the factors of a non-firm price and all unconditional

discounts that can be utilized have been taken into consideration;

2.7 **“consortium or joint venture”** means an association of persons for the purpose of combining theirexpertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract;

2.8 **“contract”** means the agreement that results from the acceptance of a bid by an organ of state;

2.9 **“EME”** means any enterprise with an annual total revenue of R5 million or less .

2.10 **“Firm price”** means the price that is only subject to adjustments in accordance with the actual increase or decrease resulting from the change, imposition, or abolition of customs or excise duty and any other duty, levy, or tax, which, in terms of the law or regulation, is binding on the contractor and demonstrably has an influence on the price of any supplies, or the rendering costs of any service, for the execution of the contract;

2.11 **“functionality”** means the measurement according to predetermined norms, as set out in the bid documents, of a service or commodity that is designed to be practical and useful, working or

operating, taking into account, among other factors, the quality, reliability, viability and durability of a service and the technical capacity and ability of a bidder;

2.12 **“non-firm prices”** means all prices other than “firm” prices;

2.13 **“person”** includes a juristic person;

2.14 **“rand value”** means the total estimated value of a contract in South African currency, calculated atthe time of bid invitations, and includes all applicable taxes and excise duties;

*2.15“sub-contract” means the primary contractor’s assigning, leasing, making out work to, oremploying, another person to support such primary contractor in the execution of part of a project in terms of the contract;*

2.16**“total revenue”** bears the same meaning assigned to this expression in the Codes of Good Practice on Black Economic Empowerment, issued in terms of section 9(1) of the Broad-Based Black Economic Empowerment Act and promulgated in the *Government Gazette* on 9 February 2007;

2.17 **“trust”** means the arrangement through which the property of one person is made over or bequeathed to a trustee to administer such property for the benefit of another person; and

2.18 **“trustee”** means any person, including the founder of a trust, to whom property is bequeathed in order for such property to be administered for the benefit of another person.

**3.** **ADJUDICATION USING A POINT SYSTEM**

3.1 The bidder obtaining the highest number of total points will be awarded the contract.

3.2 Preference points shall be calculated after prices have been brought to a comparative basis taking into account all factors of non-firm prices and all unconditional discounts;.

3.3 Points scored must be rounded off to the nearest 2 decimal places.

3.4 In the event that two or more bids have scored equal total points, the successful bidmust be the one scoring the highest number of preference points for B-BBEE.

3.5 However, when functionality is part of the evaluation process and two or more bids havescored equal points including equal preference points for B-BBEE, the successful bid mustbe the one scoring the highest score for functionality.

3.6 Should two or more bids be equal in all respects, the award shall be decided by thedrawing of lots.

**4. POINTS AWARDED FOR PRICE**

**4.1 THE 80/20 OR 90/10 PREFERENCE POINT SYSTEMS**

A maximum of 80 or 90 points is allocated for price on the following basis:

**80/20 or 90/10**

**** or ****

Where

Ps = Points scored for comparative price of bid under consideration

Pt = Comparative price of bid under consideration

Pmin = Comparative price of lowest acceptable bid

1. **Points awarded for B-BBEE Status Level of Contribution**

5.1 In terms of Regulation 5 (2) and 6 (2) of the Preferential Procurement Regulations, preference points must be awarded to a bidder for attaining the B-BBEE status level of contribution in accordance with the table below:

|  |  |  |
| --- | --- | --- |
| **B-BBEE Status Level of Contributor** | **Number of points**  **(90/10 system)** | **Number of points**  **(80/20 system)** |
| 1 | 10 | 20 |
| 2 | 9 | 18 |
| 3 | 8 | 16 |
| 4 | 5 | 12 |
| 5 | 4 | 8 |
| 6 | 3 | 6 |
| 7 | 2 | 4 |
| 8 | 1 | 2 |
| Non-compliant contributor | 0 | 0 |

5.2 Bidders who qualify as EMEs in terms of the B-BBEE Act must submit a certificate issued by an Accounting Officer as contemplated in the CCA or a Verification Agency accredited by SANAS or a Registered Auditor. Registered auditors do not need to meet the prerequisite for IRBA’s approval for the purpose of conducting verification and issuing EMEs with B-BBEE Status Level Certificates.

5.3 Bidders other than EMEs must submit their original and valid B-BBEE status level verification certificate or a certified copy thereof, substantiating their B-BBEE rating issued by a Registered Auditor approved by IRBA or a Verification Agency accredited by SANAS.

5.4 A trust, consortium or joint venture, will qualify for points for their B-BBEE status level as a legal entity, provided that the entity submits their B-BBEE status level certificate.

5.5 A trust, consortium or joint venture will qualify for points for their B-BBEE status level as an unincorporatedentity, provided that the entity submits their consolidated B-BBEE scorecard as if they were a groupstructure and that such a consolidated B-BBEE scorecard is prepared for every separate bid.

5.6 Tertiary institutions and public entities will be required to submit their B-BBEE status level certificates in terms of the specialized scorecard contained in the B-BBEE Codes of Good Practice.

5.7 A person will not be awarded points for B-BBEE status level if it is indicated in the bid documents that such a bidder intends sub-contracting more than 25% of the value of the contract to any other enterprisethat does not qualify for at least the points that such a bidder qualifies for, unless the intended sub-contractor is an EME that has the capability and ability to execute the sub-contract.

5.8 A person awarded a contract may not sub-contract more than 25% of the value of the contract to any otherenterprise that does not have an equal or higher B-BBEE status level than the person concerned, unless thecontract is sub-contracted to an EME that has the capability and ability to execute thesub-contract.

**6. BID DECLARATION**

6.1 Bidders who claim points in respect of B-BBEE Status Level of Contribution must complete the following:

**7. B-BBEE STATUS LEVEL OF CONTRIBUTION CLAIMED IN TERMS OF PARAGRAPHS 1.3.1.2 AND 5.1**

7.1 B-BBEE Status Level of Contribution: …………. = ………(maximum of 10 or 20 points)

(Points claimed in respect of paragraph 7.1 must be in accordance with the table reflected in paragraph 5.1 and must be substantiated by means of a B-BBEE certificate issued by a Verification Agency accredited by SANAS or a Registered Auditor approved by IRBA or an Accounting Officer as contemplated in the CCA).

**8 SUB-CONTRACTING**

8.1 Will any portion of the contract be sub-contracted? YES / NO (delete which is not applicable)

8.1.1 If yes, indicate:

(i) what percentage of the contract will be subcontracted? ............……………….…%

(ii) thename of the sub-contractor? …………………………………………………..

(iii) the B-BBEE status level of the sub-contractor? ……………..

(iv) whether the sub-contractor is an EME? YES / NO (delete which is not applicable)

**9** **DECLARATION WITH REGARD TO COMPANY/FIRM**

9.1 Name of company/firm :

9.2 VAT registration number :

9.3 Company registration number ……………………………………………………………………. :

9.4TYPE OF COMPANY/ FIRM

Partnership/Joint Venture / Consortium

One person business/sole propriety

Close corporation

Company

(Pty) Limited

[Tick applicable box]

9.5 DESCRIBE PRINCIPAL BUSINESS ACTIVITIES

…………..

………………

……………..

9.6 COMPANY CLASSIFICATION

Manufacturer

Supplier

Professional service provider

Other service providers, e.g. transporter, etc.

[Tick applicable box]

9.7 Total number of years the company/firm has been in business? ……………………………………

9.8 I/we, the undersigned, who is / are duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the B-BBE status level of contribution indicated in paragraph 7 of the foregoing certificate, qualifies the company/ firm for the preference(s) shown and I / we acknowledge that:

(i) The information furnished is true and correct;

(ii) The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form.

(iii) In the event of a contract being awarded as a result of points claimed as shown in paragraph 7, the contractor may be required to furnish documentary proof to the satisfaction of the purchaser that the claims are correct;

(iv) If the B-BBEE status level of contribution has been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the purchaser may, in addition to any other remedy it may have –

(a) disqualify the person from the bidding process;

(b) recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

(c) cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

1. restrict the bidder or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, from obtaining business from any organ of state for a period not exceeding 10 years, after the audialterampartem (hear the other side) rule has been applied; and
2. forward the matter for criminal prosecution

**WITNESSES:**

1. ………………………………………

……………………………………

SIGNATURE(S) OF BIDDER(S)

1. ………………………………………

DATE:………………………………..

ADDRESS:…………………………

….………………………………

……………………………………….

1. CERTIFICATE OF INDEPENDENT BID DETERMINIATION (SBD9)

**SBD 9**

**CERTIFICATE OF INDEPENDENT BID DETERMINATION**

1 This Standard Bidding Document (SBD) must form part of all bids¹ invited.

2 Section 4 (1) (b) (iii) of the Competition Act No. 89 of 1998, as amended, prohibits an agreement between, or concerted practice by, firms, or a decision by an association of firms, if it is between parties in a horizontal relationship and if it involves collusive bidding (or bid rigging).² Collusive bidding is a *pe se* prohibition meaning that it cannot be justified under any grounds.

3 Treasury Regulation 16A9 prescribes that accounting officers and accounting authorities must take all reasonable steps to prevent abuse of the supply chain management system and authorizes accounting officers and accounting authorities to:

a. disregard the bid of any bidder if that bidder, or any of its directors have abused the institution’s supply chain management system and or committed fraud or any other improper conduct in relation to such system.

b. cancel a contract awarded to a supplier of goods and services if the supplier committed any corrupt or fraudulent act during the bidding process or the execution of that contract.

1. This SBD serves as a certificate of declaration that would be used by institutions to ensure that, when bids are considered, reasonable steps are taken to prevent any form of bid-rigging.
2. In order to give effect to the above, the attached Certificate of Bid Determination (SBD 9) must be completed and submitted with the bid:

**¹ Includes price quotations, advertised competitive bids, limited bids and proposals.**

**² Bid rigging (or collusive bidding) occurs when businesses, that would otherwise be expected to compete, secretly conspire to raise prices or lower the quality of goods and / or services for purchasers who wish to acquire goods and / or services through a bidding process. Bid rigging is, therefore, an agreement between competitors not to compete.**

**SBD 9**

**CERTIFICATE OF INDEPENDENT BID DETERMINATION**

I, the undersigned, in submitting the accompanying bid:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(Bid Number and Description)

in response to the invitation for the bid made by:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(Name of Institution)

do hereby make the following statements that I certify to be true and complete in every respect:

I certify, on behalf of:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_that:

(Name of Bidder)

1. I have read and I understand the contents of this Certificate;
2. I understand that the accompanying bid will be disqualified if this Certificate is found not to be true and complete in every respect;
3. I am authorized by the bidder to sign this Certificate, and to submit the accompanying bid, on behalf of the bidder;
4. Each person whose signature appears on the accompanying bid has been authorized by the bidder to determine the terms of, and to sign the bid, on behalf of the bidder;
5. For the purposes of this Certificate and the accompanying bid, I understand that the word “competitor” shall include any individual or organization, other than the bidder, whether or not affiliated with the bidder, who:

(a) has been requested to submit a bid in response to this bid invitation;

(b) could potentially submit a bid in response to this bid invitation, based on their qualifications, abilities or experience; and

(c) provides the same goods and services as the bidder and/or is in the same line of business as the bidder

**SBD 9**

1. The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor.However communication between partners in a joint venture or consortium³ will not be construed as collusive bidding.
2. In particular, without limiting the generality of paragraphs 6 above, there has been no consultation, communication, agreement or arrangement with any competitor regarding:
3. prices;
4. geographical area where product or service will be rendered (market allocation)

(c) methods, factors or formulas used to calculate prices;

(d) the intention or decision to submit or not to submit, a bid;

(e) the submission of a bid which does not meet the specifications and conditions of the bid; or

(f) bidding with the intention not to win the bid.

1. In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications and conditions or delivery particulars of the products or services to which this bid invitation relates.
2. The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

**³ Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.**

**SBD 9**

1. I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

………………………………………………… …………………………………

Signature Date

…………………………………………………. …………………………………

Position Name of Bidder

Js914w 2

1. GOVERNMENT PROCUREMENT: GENERAL CONDITIONS OF CONTRACT – July 2011

NOTES

The purpose of this document is to:

(i) Draw special attention to certain general conditions applicable to government bids, contracts and orders; and

(ii) To ensure that clients be familiar with regard to the rights and obligations of all parties involved in doing business with government.

In this document words in the singular also mean in the plural and vice versa and words in the masculine also mean in the feminine and neuter.

 The General Conditions of Contract will form part of all bid documents and may not be amended.

 Special Conditions of Contract (SCC) relevant to a specific bid, should be compiled separately for every bid (if (applicable) and will supplement the General Conditions of Contract. Whenever there is a conflict, the provisions in the SCC shall prevail.

TABLE OF CLAUSES

1. Definitions

2. Application

3. General

4. Standards

5. Use of contract documents and information; inspection

6. Patent rights

7. Performance security

8. Inspections, tests and analysis

9. Packing

10. Delivery and documents

11. Insurance

12. Transportation

13. Incidental services

14. Spare parts

15. Warranty

16. Payment

17. Prices

18. Contract amendments

19. Assignment

20. Subcontracts

21. Delays in the supplier’s performance

22. Penalties

23. Termination for default

24. Dumping and countervailing duties

25. Force Majeure

26. Termination for insolvency

27. Settlement of disputes

28. Limitation of liability

29. Governing language

30. Applicable law

31. Notices

32. Taxes and duties

33. National Industrial Participation Programme (NIPP)

34. Prohibition of restrictive practices

General Conditions of Contract

1. Definitions

1. The following terms shall be interpreted as indicated:

1.1 “Closing time” means the date and hour specified in the bidding documents for the receipt of bids.

1.2 “Contract” means the written agreement entered into between the purchaser and the supplier, as recorded in the contract form signed by the parties, including all attachments and appendices thereto and all documents incorporated by reference therein.

1.3 “Contract price” means the price payable to the supplier under the contract for the full and proper performance of his contractual obligations.

1.4 “Corrupt practice” means the offering, giving, receiving, or soliciting of any thing of value to influence the action of a public official in the procurement process or in contract execution.

1.5 "Countervailing duties" are imposed in cases where an enterprise abroad is subsidized by its government and encouraged to market its products internationally.

1.6 “Country of origin” means the place where the goods were mined, grown or produced or from which the services are supplied. Goods are produced when, through manufacturing, processing or substantial and major assembly of components, a commercially recognized new product results that is substantially different in basic characteristics or in purpose or utility from its components.

1.7 “Day” means calendar day.

1.8 “Delivery” means delivery in compliance of the conditions of the contract or order.

1.9 “Delivery ex stock” means immediate delivery directly from stock actually on hand.

1.10 “Delivery into consignees store or to his site” means delivered and unloaded in the specified store or depot or on the specified site in compliance with the conditions of the contract or order, the supplier bearing all risks and charges involved until the supplies are so delivered and a valid receipt is obtained.

1.11 "Dumping" occurs when a private enterprise abroad market its goods on own initiative in the RSA at lower prices than that of the country of origin and which have the potential to harm the local industries in the RSA.

1.12 ”Force majeure” means an event beyond the control of the supplier and not involving the supplier’s fault or negligence and not foreseeable. Such events may include, but is not restricted to, acts of the purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions and freight embargoes.

1.13 “Fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of any bidder, and includes collusive practice among bidders (prior to or after bid submission) designed to establish bid prices at artificial non-competitive levels and to deprive the bidder of the benefits of free and open competition.

1.14 “GCC” means the General Conditions of Contract.

1.15 “Goods” means all of the equipment, machinery, and/or other materials that the supplier is required to supply to the purchaser under the contract.

1.16 “Imported content” means that portion of the bidding price represented by the cost of components, parts or materials which have been or are still to be imported (whether by the supplier or his subcontractors) and which costs are inclusive of the costs abroad, plus freight and other direct importation costs such as landing costs, dock dues, import duty, sales duty or other similar tax or duty at the South African place of entry as well as transportation and handling charges to the factory in the Republic where the supplies covered by the bid will be manufactured.

1.17 “Local content” means that portion of the bidding price which is not included in the imported content provided that local manufacture does take place.

1.18 “Manufacture” means the production of products in a factory using labour, materials, components and machinery and includes other related value-adding activities.

1.19 “Order” means an official written order issued for the supply of goods or works or the rendering of a service.

1.20 “Project site,” where applicable, means the place indicated in bidding documents.

1.21 “Purchaser” means the organization purchasing the goods.

1.22 “Republic” means the Republic of South Africa.

1.23 “SCC” means the Special Conditions of Contract.

1.24 “Services” means those functional services ancillary to the supply of the goods, such as transportation and any other incidental services, such as installation, commissioning, provision of technical assistance, training, catering, gardening, security, maintenance and other such obligations of the supplier covered under the contract.

1.25 “Written” or “in writing” means handwritten in ink or any form of electronic or mechanical writing.

2. Application

2.1 These general conditions are applicable to all bids, contracts and orders including bids for functional and professional services, sales, hiring, letting and the granting or acquiring of rights, but excluding immovable property, unless otherwise indicated in the bidding documents.

2.2 Where applicable, special conditions of contract are also laid down to cover specific supplies, services or works.

2.3 Where such special conditions of contract are in conflict with these general conditions, the special conditions shall apply.

3. General 3.1 Unless otherwise indicated in the bidding documents, the purchaser shall not be liable for any expense incurred in the preparation and submission of a bid. Where applicable a non-refundable fee for documents may be charged.

3.2 With certain exceptions, invitations to bid are only published in the Government Tender Bulletin. The Government Tender Bulletin may be obtained directly from the Government Printer, Private Bag X85, Pretoria 0001, or accessed electronically from [www.treasury.gov.za](http://www.treasury.gov.za)

4. Standards

4.1 The goods supplied shall conform to the standards mentioned in the bidding documents and specifications.

1. Use of contract documents and information; inspection.

5.1 The supplier shall not, without the purchaser’s prior written consent, disclose the contract, or any provision thereof, or any specification, plan, drawing, pattern, sample, or information furnished by or on behalf of the purchaser in connection therewith, to any person other than a person employed by the supplier in the performance of the contract. Disclosure to any such employed person shall be made in confidence and shall extend only so far as may be necessary for purposes of such performance.

5.2 The supplier shall not, without the purchaser’s prior written consent, make use of any document or information mentioned in GCC clause 5.1 except for purposes of performing the contract.

5.3 Any document, other than the contract itself mentioned in GCC clause 5.1 shall remain the property of the purchaser and shall be returned (all copies) to the purchaser on completion of the supplier’s performance under the contract if so required by the purchaser.

5.4 The supplier shall permit the purchaser to inspect the supplier’s records relating to the performance of the supplier and to have them audited by auditors appointed by the purchaser, if so required by the purchaser.

6. Patent rights

6.1 The supplier shall indemnify the purchaser against all third-party claims of infringement of patent, trademark, or industrial design rights arising from use of the goods or any part thereof by the purchaser.

1. Performance security

7.1 Within thirty (30) days of receipt of the notification of contract award, the successful bidder shall furnish to the purchaser the performance security of the amount specified in SCC.

7.2 The proceeds of the performance security shall be payable to the purchaser as compensation for any loss resulting from the supplier’s failure to complete his obligations under the contract.

7.3 The performance security shall be denominated in the currency of the contract, or in a freely convertible currency acceptable to the purchaser and shall be in one of the following forms:

(a) a bank guarantee or an irrevocable letter of credit issued by a reputable bank located in the purchaser’s country or abroad, acceptable to the purchaser, in the form provided in the bidding documents or another form acceptable to the purchaser; or

(b) a cashier’s or certified cheque

7.4 The performance security will be discharged by the purchaser and returned to the supplier not later than thirty (30) days following the date of completion of the supplier’s performance obligations under the contract, including any warranty obligations, unless otherwise specified in SCC.

8. Inspections, tests and analyses

8.1 All pre-bidding testing will be for the account of the bidder.

8.2 If it is a bid condition that supplies to be produced or services to be rendered should at any stage during production or execution or on completion be subject to inspection, the premises of the bidder or contractor shall be open, at all reasonable hours, for inspection by a representative of the Department or an organization acting on behalf of the Department.

8.3 If there are no inspection requirements indicated in the bidding documents and no mention is made in the contract, but during the contract period it is decided that inspections shall be carried out, the purchaser shall itself make the necessary arrangements, including payment arrangements with the testing authority concerned.

8.4 If the inspections, tests and analyses referred to in clauses 8.2 and 8.3 show the supplies to be in accordance with the contract requirements, the cost of the inspections, tests and analyses shall be defrayed by the purchaser.

8.5 Where the supplies or services referred to in clauses 8.2 and 8.3 do not comply with the contract requirements, irrespective of whether such supplies or services are accepted or not, the cost in connection with these inspections, tests or analyses shall be defrayed by the supplier.

8.6 Supplies and services which are referred to in clauses 8.2 and 8.3 and which do not comply with the contract requirements may be rejected.

8.7 Any contract supplies may on or after delivery be inspected, tested or analyzed and may be rejected if found not to comply with the requirements of the contract. Such rejected supplies shall be held at the cost and risk of the supplier who shall, when called upon, remove them immediately at his own cost and forthwith substitute them with supplies which do comply with the requirements of the contract. Failing such removal the rejected supplies shall be returned at the suppliers cost and risk. Should the supplier fail to provide the substitute supplies forthwith, the purchaser may, without giving the supplier further opportunity to substitute the rejected supplies, purchase such supplies as may be necessary at the expense of the supplier.

8.8 The provisions of clauses 8.4 to 8.7 shall not prejudice the right of the purchaser to cancel the contract on account of a breach of the conditions thereof, or to act in terms of Clause 23 of GCC.

9. Packing

9.1 The supplier shall provide such packing of the goods as is required to prevent their damage or deterioration during transit to their final destination, as indicated in the contract. The packing shall be

sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit, and open storage. Packing, case size and weights shall take into consideration, where appropriate, the remoteness of the goods’ final destination and the absence of heavy handling facilities at all points in transit.

9.2 The packing, marking, and documentation within and outside the packages shall comply strictly with such special requirements as shall be expressly provided for in the contract, including additional

requirements, if any, specified in SCC, and in any subsequent instructions ordered by the purchaser.

10. Delivery and documents

10.1 Delivery of the goods shall be made by the supplier in accordance with the terms specified in the contract. The details of shipping and/or other documents to be furnished by the supplier are specified in SCC.

10.2 Documents to be submitted by the supplier are specified in SCC.

11. Insurance

11.1 The goods supplied under the contract shall be fully insured in a freely convertible currency against loss or damage incidental to manufacture or acquisition, transportation, storage and delivery in the manner specified in the SCC.

12. Transportation

12.1 Should a price other than an all-inclusive delivered price be required, this shall be specified in the SCC.

13. Incidental services

13.1 The supplier may be required to provide any or all of the following services, including additional services, if any, specified in SCC:

(a) performance or supervision of on-site assembly and/or commissioning of the supplied goods;

(b) furnishing of tools required for assembly and/or maintenance of the supplied goods;

(c) furnishing of a detailed operations and maintenance manual for each appropriate unit of the supplied goods;

(d) performance or supervision or maintenance and/or repair of the supplied goods, for a period of time agreed by the parties, provided that this service shall not relieve the supplier of any warranty obligations under this contract; and

(e) training of the purchaser’s personnel, at the supplier’s plant and/or on-site, in assembly, start-up, operation, maintenance, and/or repair of the supplied goods.

13.2 Prices charged by the supplier for incidental services, if not included in the contract price for the goods, shall be agreed upon in advance by the parties and shall not exceed the prevailing rates charged to other parties by the supplier for similar services.

14. Spare parts

14.1 As specified in SCC, the supplier may be required to provide any or all of the following materials, notifications, and information pertaining to spare parts manufactured or distributed by the supplier:

(a) such spare parts as the purchaser may elect to purchase from the supplier, provided that this election shall not relieve the supplier of any warranty obligations under the contract; and

(b) in the event of termination of production of the spare parts:

(i) Advance notification to the purchaser of the pending termination, in sufficient time to permit the purchaser to procure needed requirements; and

(ii) following such termination, furnishing at no cost to the purchaser, the blueprints, drawings, and specifications of the spare parts, if requested.

15. Warranty

15.1 The supplier warrants that the goods supplied under the contract are new, unused, of the most recent or current models, and that they incorporate all recent improvements in design and materials unless provided otherwise in the contract. The supplier further warrants that all goods supplied under this contract shall have no defect, arising from design, materials, or workmanship (except when the design and/or material is required by the purchaser’s specifications) or from any act or omission of the supplier, that may develop under normal use of the supplied goods in the conditions prevailing in the country of final destination.

15.2 This warranty shall remain valid for twelve (12) months after the goods, or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the contract, or for eighteen (18) months after the date of shipment from the port or place of loading in the source country, whichever period concludes earlier, unless specified otherwise in SCC.

15.3 The purchaser shall promptly notify the supplier in writing of any claims arising under this warranty.

15.4 Upon receipt of such notice, the supplier shall, within the period specified in SCC and with all reasonable speed, repair or replace the defective goods or parts thereof, without costs to the purchaser.

15.5 If the supplier, having been notified, fails to remedy the defect(s) within the period specified in SCC, the purchaser may proceed to take such remedial action as may be necessary, at the supplier’s risk and expense and without prejudice to any other rights which the purchaser may have against the supplier under the contract.

16. Payment

16.1 The method and conditions of payment to be made to the supplier under this contract shall be specified in SCC.

16.2 The supplier shall furnish the purchaser with an invoice accompanied by a copy of the delivery note and upon fulfilment of other obligations stipulated in the contract.

16.3 Payments shall be made promptly by the purchaser, but in no case later than thirty (30) days after submission of an invoice or claim by the supplier.

16.4 Payment will be made in Rand unless otherwise stipulated in SCC.

17. Prices

17.1 Prices charged by the supplier for goods delivered and services performed under the contract shall not vary from the prices quoted by the supplier in his bid, with the exception of any price adjustments authorized in SCC or in the purchaser’s request for bid validity extension, as the case may be.

18. Contract amendments

18.1 No variation in or modification of the terms of the contract shall be made except by written amendment signed by the parties concerned.

19. Assignment

19.1 The supplier shall not assign, in whole or in part, its obligations to perform under the contract, except with the purchaser’s prior written consent.

20. Subcontracts

20.1 The supplier shall notify the purchaser in writing of all subcontracts awarded under this contracts if not already specified in the bid. Such notification, in the original bid or later, shall not relieve the supplier from any liability or obligation under the contract.

21. Delays in the supplier’s performance

21.1 Delivery of the goods and performance of services shall be made by the supplier in accordance with the time schedule prescribed by the purchaser in the contract.

21.2 If at any time during performance of the contract, the supplier or its subcontractor(s) should encounter conditions impeding timely delivery of the goods and performance of services, the supplier shall promptly notify the purchaser in writing of the fact of the delay, its likely duration and its cause(s). As soon as practicable after receipt of the supplier’s notice, the purchaser shall evaluate the situation and may at his discretion extend the supplier’s time for performance, with or without the imposition of penalties, in which case the extension shall be ratified by the parties by amendment of contract.

21.3 No provision in a contract shall be deemed to prohibit the obtaining of supplies or services from a national department, provincial department, or a local authority.

21.4 The right is reserved to procure outside of the contract small quantities or to have minor essential services executed if an emergency arises, the supplier’s point of supply is not situated at or near the place where the supplies are required, or the supplier’s services are not readily available.

21.5 Except as provided under GCC Clause 25, a delay by the supplier in the performance of its delivery obligations shall render the supplier liable to the imposition of penalties, pursuant to GCC Clause 22, unless an extension of time is agreed upon pursuant to GCC Clause 21.2 without the application of penalties.

21.6 Upon any delay beyond the delivery period in the case of a supplies contract, the purchaser shall, without cancelling the contract, be entitled to purchase supplies of a similar quality and up to the same quantity in substitution of the goods not supplied in conformity with the contract and to return any goods delivered later at the supplier’s expense and risk, or to cancel the contract and buy such goods as may be required to complete the contract and without prejudice to his other rights, be entitled to claim damages from the supplier.

22. Penalties

22.1 Subject to GCC Clause 25, if the supplier fails to deliver any or all of the goods or to perform the services within the period(s) specified in the contract, the purchaser shall, without prejudice to its other remedies under the contract, deduct from the contract price, as a penalty, a sum calculated on the delivered price of the delayed goods or unperformed services using the current prime interest rate calculated for each day of the delay until actual delivery or performance. The purchaser may also consider termination of the contract pursuant to GCC Clause 23.

23. Termination for default

23.1 The purchaser, without prejudice to any other remedy for breach of contract, by written notice of default sent to the supplier, may terminate this contract in whole or in part:

(a) if the supplier fails to deliver any or all of the goods within the period(s) specified in the contract, or within any extension thereof granted by the purchaser pursuant to GCC Clause 21.2;

(b) if the Supplier fails to perform any other obligation(s) underthe contract; or

(c) if the supplier, in the judgment of the purchaser, has engaged in corrupt or fraudulent practices in competing for or in executing the contract.

23.2 In the event the purchaser terminates the contract in whole or in part, the purchaser may procure, upon such terms and in such manner as it deems appropriate, goods, works or services similar to those undelivered, and the supplier shall be liable to the purchaser for any excess costs for

such similar goods, works or services. However, the supplier shall continue performance of the contract to the extent not terminated.

23.3 Where the purchaser terminates the contract in whole or in part, the purchaser may decide to impose a restriction penalty on the supplier by prohibiting such supplier from doing business with the public sector for a period not exceeding 10 years.

23.4 If a purchaser intends imposing a restriction on a supplier or any person associated with the supplier, the supplier will be allowed a time period of not more than fourteen (14) days to provide reasons why the envisaged restriction should not be imposed. Should the supplier fail to respond within the stipulated fourteen (14) days the purchaser may regard the intended penalty as not objected against and may impose it on the supplier;

23.5 Any restriction imposed on any person by the Accounting Officer / Authority will, at the discretion of the Accounting Officer / Authority, also be applicable to any other enterprise or any partner, manager, director or other person who wholly or partly exercises or exercised or may exercise control over the enterprise of the first-mentioned person, and with which enterprise or person the first-mentioned person, is or was in the opinion of the Accounting Officer / Authority actively associated.

23.6 If a restriction is imposed, the purchaser must, within five (5) working days of such imposition, furnish the National Treasury, with the following information:

(i) the name and address of the supplier and / or person restricted by the purchaser;

(ii) the date of commencement of the restriction

(iii) the period of restriction; and

(iv) the reasons for the restriction.

These details will be loaded in the National Treasury’s central database of suppliers or persons prohibited from doing business with the public sector.

23.7 If a court of law convicts a person of an offence as contemplated in sections 12 or 13 of the Prevention and Combating of Corrupt Activities Act, No. 12 of 2004, the court may also rule that such person’s name be endorsed on the Register for Tender Defaulters. When a person’s name has been endorsed on the Register, the person will be prohibited from doing business with the public sector for a period not less than five years and not more than 10 years. The National Treasury is empowered to determine the period of restriction and each case will be dealt with on its own merits. According to section 32 of the Act the Register must be open to the public. The Register can be perused on the National Treasury website.

24. Anti-dumping and countervailing duties and rights

24.1 When, after the date of bid, provisional payments are required, or anti-dumping or countervailing duties are imposed, or the amount of a provisional payment or anti-dumping or countervailing right is increased in respect of any dumped or subsidized import, the State is not liable for any amount so required or imposed, or for the amount of any such increase. When, after the said date, such a provisional payment is no longer required or any such anti-dumping or countervailing right is abolished, or where the amount of such provisional payment or any such right is reduced, any such favourable difference shall on demand be paid forthwith by the contractor to the State or the State may deduct such amounts from moneys (if any) which may otherwise be due to the contractor in regard to supplies or services which he delivered or rendered, or is to deliver or render in terms of the contract or any other contract or any other amount which may be due to him

25. Force Majeure

25.1 Notwithstanding the provisions of GCC Clauses 22 and 23, the supplier shall not be liable for forfeiture of its performance security, damages, or termination for default if and to the extent that his delay in performance or other failure to perform his obligations under the contract is the result of an event of force majeure.

25.2 If a force majeure situation arises, the supplier shall promptly notify the purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the purchaser in writing, the supplier shall continue to perform its obligations under the contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the force majeure event.

26. Termination for insolvency

26.1 The purchaser may at any time terminate the contract by giving written notice to the supplier if the supplier becomes bankrupt or otherwise insolvent. In this event, termination will be without compensation to the supplier, provided that such termination will not prejudice or affect any right of action or remedy which has accrued or will accrue thereafter to the purchaser.

27. Settlement of Disputes

27.1 If any dispute or difference of any kind whatsoever arises between the purchaser and the supplier in connection with or arising out of the contract, the parties shall make every effort to resolve amicably such dispute or difference by mutual consultation.

27.2 If, after thirty (30) days, the parties have failed to resolve their dispute or difference by such mutual consultation, then either the purchaser or the supplier may give notice to the other party of his intention to commence with mediation. No mediation in respect of this matter may be commenced unless such notice is given to the other party.

27.3 Should it not be possible to settle a dispute by means of mediation, it may be settled in a South African court of law.

27.4 Mediation proceedings shall be conducted in accordance with the rules of procedure specified in the SCC.

27.5 Notwithstanding any reference to mediation and/or court proceedings herein,

(a) the parties shall continue to perform their respective obligations under the contract unless they otherwise agree; and

(b) the purchaser shall pay the supplier any monies due the supplier.

28. Limitation of liability

28.1 Except in cases of criminal negligence or wilful misconduct, and in the case of infringement pursuant to Clause 6;

(a) the supplier shall not be liable to the purchaser, whether in contract, tort, or otherwise, for any indirect or consequential loss or damage, loss of use, loss of production, or loss of profits or interest costs, provided that this exclusion shall not apply to any obligation of the supplier to pay penalties and/or damages to the purchaser; and

(b) the aggregate liability of the supplier to the purchaser, whether under the contract, in tort or otherwise, shall not exceed the total contract price, provided that this limitation shall not apply to the cost of repairing or replacing defective equipment.

29. Governing language

29.1 The contract shall be written in English. All correspondence and other documents pertaining to the contract that is exchanged by the parties shall also be written in English.

30. Applicable law

30.1 The contract shall be interpreted in accordance with South African laws, unless otherwise specified in SCC.

31. Notices

31.1 Every written acceptance of a bid shall be posted to the supplier concerned by registered or certified mail and any other notice to him shall be posted by ordinary mail to the address furnished in his bid or to the address notified later by him in writing and such posting shall be deemed to be proper service of such notice

31.2 The time mentioned in the contract documents for performing any act after such aforesaid notice has been given, shall be reckoned from the date of posting of such notice.

32. Taxes and duties

32.1 A foreign supplier shall be entirely responsible for all taxes, stamp duties, license fees, and other such levies imposed outside thepurchaser’s country.

32.2 A local supplier shall be entirely responsible for all taxes, duties, license fees, etc., incurred until delivery of the contracted goods to the purchaser.

32.3 No contract shall be concluded with any bidder whose tax matters are not in order. Prior to the award of a bid the Department must be in possession of a tax clearance certificate, submitted by the bidder. This certificate must be an original issued by the South African Revenue Services.

33. National Industrial Participation (NIP) Programme

33.1 The NIP Programme administered by the Department of Trade and Industry shall be applicable to all contracts that are subject to the NIP obligation.

34 Prohibition of Restrictive practices

34.1 In terms of section 4 (1) (b) (iii) of the Competition Act No. 89 of 1998, as amended, an agreement between, or concerted practice by, firms, or a decision by an association of firms, is prohibited if it is between parties in a horizontal relationship and if a bidder (s) is / are or a contractor(s) was / were involved in collusive bidding (or bid rigging).

34.2 If a bidder(s) or contractor(s), based on reasonable grounds or evidence obtained by the purchaser, has / have engaged in the restrictive practice referred to above, the purchaser may refer the matter to the Competition Commission for investigation and possible imposition of administrative penalties as contemplated in the Competition Act No. 89 of 1998.

34.3 If a bidder(s) or contractor(s), has / have been found guilty by the Competition Commission of the restrictive practice referred to above, the purchaser may, in addition and without prejudice to any other remedy provided for, invalidate the bid(s) for such item(s) offered, and / or terminate the contract in whole or part, and / or restrict the bidder(s) or contractor(s) from conducting business with

the public sector for a period not exceeding ten (10) years and / or claim damages from the bidder(s) or contractor(s) concerned.